FACILITATE, Jr. User Manual

Copyright 1990, 1991

FACILITATE, Inc.

1268 Halifax Road

Knoxville, TN 37922

Revised:  January 1, 1991

TABLE OF CONTENTS

INTRODUCTION TO FACILITATE                                    5

Welcome to FACILITATE                               5

Personal Note from Creators of FACILITATE           5

Hardware and Software Recommendations               6

Installing FACILITATE                               8

Early Decisions to be Made                          9

Introduction to Database Concept                   11

Database Structure and Terminology                 12

Understanding How FACILITATE Works                 14

FACILITATE Menu System                             14

Cursor Movement and Function Keys                  17

FACILITATE Data Field Type and Length              20

A Quick Tutorial                                   20

FACILITATE DATABASE FIELDS by COLUMN CODE                    21

FACILITATE MENU and SCREEN OPTION SYSTEM OUTLINE             35

Work Order Information Menu                        35

Work Order Reports Menu                            35

Maintenance Schedules Menu                         36

Equipment Management Menu                          36

Equipment History Menu                             37

Maintenance Contracts Menu                         37

Codes Maintenance Menu                             38

System Maintenance Menu                            38

FACILITATE WORK ORDER INFORMATION MODULE  (01.00.00)         40

Prerequisites to Data Entry                        40

Work Order Information Menu                        40

Generate a Work Order                              40

Work Order Field Type Description                  41

Generate a Completed Work Order                    43

Edit Work Orders                                   44

Work Order Completion                              45

Work Order Completion Field Type Description       49

Process Work Orders in Queue                       49

Edit Work Orders in Queue                          50

Reprint Work Orders                                51

Page 2

FACILITATE WORK ORDER REPORTS MENU (02.00.00)                52

Work Order Reports                                 52

FACILITATE MAINTENANCE SCHEDULES MENU (03.00.00)             54

Create/Edit Maintenance Schedules                  54

Create/Edit Daily/Weekly Maintenance Schedules     57

Generate Work Orders from Schedules                59

Generate Daily/Weekly Work Order From Schedules    60

Maintenance Schedule Reports                       61

FACILITATE EQUIPMENT MANAGEMENT MODULE (04.00.00)            62

Equipment Information Menu                         62

Prerequisites to Data Entry                        62

Add Equipment Items                                62

Equipment Information Field Types/Length           63

Edit Equipment Items                               67

Equipment Lookup Options                           67

Print Equipment Information                        68

Print Equipment List                               69

FACILITATE EQUIPMENT HISTORY MODULE  (05.00.00)              70

Add/Edit History Information                       70

Print History Information                          71

FACILITATE MAINTENANCE CONTRACTS MANAGEMENT MODULE (06.00.00)

Maintenance Contracts Menu                         72

Add New Contracts                                  72

Prerequisites to Data Entry                        72

Equipment Contracts Field Types/Length             72

Edit Contract Information                          73

Contract Information Reports Menu                  73

Add/Edit Contract Service on an Equipment Item     73

Add/Edit Equipment Items on a Contract             74

Page 3

FACILITATE CODES MAINTENANCE MODULE (07.00.00)               75

Data Entry, Edit and Print Information             75

Codes Data Field Type/Length Information           75

EQUIPMENT CODES                                    76

Equipment Class Codes                              76

Equipment Type Codes                               77

Useful Life Values                               77

Preventive Maintenance Procedure Numbering       79

Performance Verification Procedure Numbering     80

Equipment Status Codes                             81

Equipment Data Type Codes                          81

Manufacturer Codes                                 82

Vendor Codes                                       82

Contract Type Codes                                83

WORK ORDER CODES                                   84

Work Order Type Codes                              84

Work Order Status Codes                            84

Work Order Completion Codes                        85

Work Order Priority Codes                          85

Scheduled Maintenance Procedure Codes              85

Scheduled Maintenance Procedure Task Codes         86

GENERAL CODES                                      88

Account Codes                                      88

Location Codes                                     88

Employee Codes                                     89

Position Codes                                     89

Service Group Codes                                89

FACILITATE SYSTEM MAINTENANCE MODULE (08.00.00)              90

Add Users and Set Passwords                        90

Assigning Access Rights                            91

Set Global Information                             93

Post Work Order Transactions                       94

Purge Old Transactions                             95

Database Maintenance                               97

Page 4

WELCOME

Welcome to the FACILITATE, Jr. (TM) Software Program by Facilitate, Inc.

FACILITATE is a registered trademark of Facilitate, Inc. of

Knoxville, TN, USA.  Please read the Software License Agreement

provided with this software.  We appreciate your trust in

us as evidenced by your working with this software package.  It

has been designed to "Facilitate" reaching your goals as a

service department.  We, in turn, place our trust

in you to protect the fruits of our labor by honoring the terms

and conditions of the software license agreement.

A PERSONAL NOTE FROM THE CREATORS OF FACILITATE

The development of FACILITATE began as a home project by two hospital service

department managers.  It was fueled by the desire to have an effective

information management tool that was flexible and useful to not only the

managers, but to the technical and clerical staff as well.  A thorough search of

the marketplace revealed very expensive products with bells and whistles and

very inexpensive products that addressed only the basic equipment and work order

management dimensions, but not what we needed.  We needed one that would allow

us to manage our departments on a daily basis as well as help us plan for the

future.  Above all else, we needed to be able to accurately report information

about our departments to the people we report to without having to convince (and

pay) the software developer to write a special report for us.  We discovered

that no software vendor had adequately addressed both the

technical and managerial issues involved in the management of service

departments.   Hence, FACILITATE was conceived.  After two years of

development and on-site testing, we are now privileged to share it with you.

While we combined over thirty years of plant operations, biomedical equipment,

housekeeping, telecommunications and asset management experience into the

development of FACILITATE, we are certain we have not thought of every need you

may encounter.  For this reason we present you with a package that we expect you

to customize if you so desire.  By using the tremendous power and flexibility

of R:Base by MicroRim, you can build your own personalized menu system, forms,

views and reports.  You do not have to purchase a special

report generator, nor call us to do this for you - its all there for you to work

with.

To further promote cooperation and to help you reach your goals within your area

of responsibility, we have established a FACILITATE User's Group.  You don't

have to dip into your travel budget to attend a meeting.  All you have to have

is a subscription to the group and a modem.

We sincerely hope that you will communicate with us, tell us how we can help

you.  Not every idea presented will necessarily be incorporated into the

standard FACILITATE program, but it doesn't have to be for you to use the idea.

If you see an idea you like on the Bulletin Board, you simply

incorporate it into your program.

The following pages provide some hardware and software recommendations and

introduce you to FACILITATE.

Page 5

I. SYSTEM RECOMMENDATIONS

A.  Recommended Operating System for single users

For optimal performance of your software, we recommend

operating with DOS 3.3.  Any DOS version above 3.1 will

work satisfactorily.  Note that FACILITATE supports multi-tasking

via Windows 3.0 or DESQView 2.3.  We recommend DESQView 2.3 and

the use of QEMM 5.1 for memory management (with either DESQView or

Windows).  DESQView will allow you to run other applications

(word processing, CAD, etc.) and quickly switch to FACILITATE

without exiting the other applications.  We have thoroughly

tested FACILITATE in a network environment with users running

multiple applications and multiple FACILITATE sessions!  This means

that you can for example be typing a document in a word processor,

be running a report in FACILITATE as a background task, then when

you get a phone call, switch to another session and generate an

unscheduled maintenance work request, all at the same PC!

B.  Recommended Networking Software

Several Networking Packages are available in the

marketplace.  FACILITATE will run satisfactorily on any

DOS 3.1 compatible network.  We recommend Novell NetWare

because of its exceptional performance and reliability.

Our product will work with NetWare 286 (ELS, Advanced, or SFT)

and with NetWare 386.  Note that users on a network can multi

task with FACILITATE, running both multiple FACILITATE sessions

and other applications concurrently.

C.  Hardware Recommendations

All hardware should be IBM PC or PS/2 compatible.  NOTE that

these are recommended configurations, NOT requirements.  The

only hardware requirements are IBM compatibility, 640k RAM,

and a hard disk.

1.  Single Computer system - basic configuration

- 80386SX or 80386 CPU

- 1 MB RAM (2 MB + if multi-tasking is desired)

- 40 MB plus hard disk

- VGA Video Card (VGA NOT required)

- VGA Color Monitor (color NOT required)

- 1.2 MB or 1.44 MB floppy

- Parallel Port, Serial Port

- 101 Enhanced Keyboard

- 300 cps printer

Page 6

2.  File Server Hardware Recommendations (Networks only)

- 80386 CPU, 20 MHz or greater

- 4 MB RAM

- 100 MB plus SCSI hard disk

- Disk Coprocessor

- VGA Video Card

- VGA Monochrome Monitor

- 1.2 MB or 1.44 MB floppy

- 2 parallel ports

- 1 or 2 serial ports

- 101 Enhanced Keyboard

- 400 plus cps printer (reports)

- 200 cps printer (dispatch - Unscheduled maintenance requests

3.  Network Workstation Recommendations

- 80386SX or 80386 CPU

- 1 MB RAM (2 MB + if multi-tasking)

- VGA Video Card

- VGA Color Monitor or VGA Monochrome Monitor

- Hard disk (optional)

- 1.2 MB or 1.44 MB floppy (optional)

- Remote boot EPROM if no floppy or hard disk

- Parallel Port, Serial Port

- 101 Enhanced Keyboard

4.  Network Interface Card Recommendations

- 16 or 32 bit interface for File Server

- 8 or 16 bit for workstations

- If compatibility with existing LANs in the

facility is an issue, contact Facilitate, Inc. with specifics

- For "stand alone" networks, Thomas-Conrad Corp ARCNET

5.  Miscellaneous (But Important) Hardware

Recommendations

- Modem - 2400 Baud Hayes compatible plus MNP Level 5

- Backup System (Tape, removable disk, etc.)

Page 7

II. INSTALLING FACILITATE

NOTE:  If FACILITATE, Jr. was supplied to you on diskette,

please follow the instructions in the README.TXT file on the

diskette, then proceed to Step F below (skipping A thru E).

Steps A thru E apply for copies of FACILITATE, Jr. obtained

from bulletin boards (BBS).

A. Create a directory on your hard disk or server disk.

B. Copy the FACLTJR.EXE file to this directory.

C. Type FACLTJR.EXE [Enter] to extract the files.  FACILITATE, Jr.

is a self-extracting ZIP file using PKWARE.

D. The README.DOC file contains an explanation of the contents

of each of the files.

E. Delete the FACLTJR.EXE file.  Keep a copy of this file in a

safe place should it ever be necessary to re-install the

software.

F. Set the file attributes of the files.  The executable files

(FACLTM.EXE and FACLTM.OVL) should be set to read-only.  If you

wish to keep the document files on your disk for quick display

on your monitor, these files (*.DOC) should be set to read-only

as well.  The attributes of the database files (*.RBF) should

be read-write.  If the software is installed on a network the

database files should be shareable-read-write, and further, if

installed on a Novell SFT (System Fault Tolerant) network, they

should be shareable-read-write-index-transactional (SRWIT).

In DOS installations use the ATTRIB command to set the file

attributes, in Novell installations use the FLAG command.

G. For network installations only:  Access to the newly created

directory for FACILITATE must be granted to all users who will

use this software.  The minimum access requirement to the

directory must be Read-Write-Open-Search (RWOS).  The rights may

be assigned to users individually, or to all of the users in a

group (Refer to the NetWare manual for the SYSCON Menu Utility

and the GRANT and TLIST command line utilities.)

H. After the software is installed, you may start FACILITATE, Jr.

by executing the FACLTM.EXE file:  type FACLTM [Enter].  We

suggest that a batch file be written (or FACLTM be added to

an existing menu system) to start the program from the users

"home" directory.  This will simplify access for novice users.

I. FACILITATE, Jr. requires that the user enter a name and a password

to gain access to the database.  The software comes with a user

name SYSTEM and a password STARTUP.  There are 4 levels of security

in FACILITATE, Jr, which are discussed further below.

(A detailed explanation of assigning security is provided under the

heading for 08.01.00 later in this manual.)

Page 8

III. DECISIONS YOU NEED TO MAKE BEFORE STARTING

A.  System Administration

Who will have access to:

1.  FACILITATE System

A "System Supervisor" should be designated.  The

System Supervisor has access to all information

within FACILITATE including User Names and

Passwords, Employee Payroll Files, Global

Information used throughout FACILITATE, System-wide

Codes, and Database Maintenance Features.  The

"System Supervisor" is also normally granted rights

to utilize the R:Base User Interface to make changes

to the database structure, menu system, input forms

and reports.  Normally, the System Supervisor is

assigned the responsibility for monitoring the

database for proper use and data integrity.

To reduce the potential for database corruption,

the loss of data, or unauthorized editing of data, the

access rights granted to each user should be carefully

considered.  Access rights are established in Menu

Option 08.01.01 and are granted or revoked on a per

user basis for:

a.  System Access

b.  Employee Payroll File Access

c.  Codes Access

d.  Operational Access (Equipment and Work Order data)

We strongly recommend that only those having a full

understanding of the of the software be granted access

to the FACILITATE System.  Right to the other access

controlled areas should be based upon the need to

know and the need to be able to hold specific people

accountable for the accuracy of the data in the

various areas.

2.  FACILITATE Codes

Codes are used throughout FACILITATE to standardize

information and to reduce the amount of disk space

required to store repeated data.  You will want to

appoint someone in your organization to be

responsible for maintaining the code system and

decide whether or not to let other users access the

screen where codes and their descriptions are input.

By granting access to the Codes Module, you allow

the user to change codes and codes descriptions that

are used throughout the database.  Revoking those

rights prevents a user from making such changes but

does not affect their ability to utilize the codes

Page 9

wherever they appear in input forms and reports.

Codes and their descriptions will appear in input

screens and reports for all users, regardless of

their access rights within the Codes Module.

B.  Codes Administration and Maintenance

Time spent to develop a written codes system prior to

implementing your program will save time in the long

run.  To enjoy the full benefit of FACILITATE features,

you need to determine how it should be implemented to

support your technical, managerial and administrative

staff.  Everyone has a "unique" way of doing things.

While computerization of a department's information

handling methods may be an opportunity to change the way

things are done, it should not be necessary for you to

make major changes in order for your software package to

work well within your operation.  Standardization of

information is a positive or negative concept, depending

on one's perspective and how successful they are in

turning it into a benefit.  Codes allow storage of a lot

of data repeated many time throughout the database in a

small amount of space.  The use of coded information is

also an effective way to improve the retrievability of

information as well as to create professional looking

reports.

To take full advantage of the power of FACILITATE

requires a good understanding of the coded fields and

how they are used throughout the program.  The use of

some codes, such as Manufacturer and Vendor Codes, are

pretty obvious and easy to implement without much

investigation.  Other codes, such as Equipment Class,

Type and Status may seem obvious, but how they can best

be used in your organization can be understood only

after a thorough investigation of how they relate to the

overall FACILITATE program.  Having done that, you will

be able to devise and implement codes that integrate

well into your management system.

C.  System and Database Archives

One of the most common errors made by database users is

the failure to establish and utilize routine information

backup procedures.  FACILITATE users have not reported

any incidences of database corruption due to software

problems.  However, several users have lost data due to

operator errors, sudden power outages and hardware

problems.  Before you start to enter data into

FACILITATE, decide how many minutes, hours or days of

work you are willing to lose at any one time.  This

Page 10

decision will help you determine how often you will back

up your software system and database.

FACILITATE software and database files may be backed up

using DOS Copy, Xcopy or Backup.  Copy, Archive or

Backup utilities found in network operating systems may

also be used.  Once you have installed your software,

make a backup of the directory on a removeable media

(diskette or tape), label it FACILITATE System Backup,

date it and store it in a safe place.  Then, as you add

data to the database, back up the database files to

another removeable media as often as you deem necessary.

There are three database files; FACLT1.RBF, FACLT2.RBF

and FACLT3.RBF.  We recommend that they be backed up no

less than once daily.  These backup diskettes or tapes

should be labeled FACILITATE Database Backup, dated and

stored in a safe place.

Consider using PKWARE or another file compression program

to reduce the size of the media requirements for backup.

We also recommend that you have five (5) to seven (7)

sets of backup diskettes or tapes.  Should you discover

a database problem that actually happened several days

ago, it may be possible for you to recover the error by

returning to the backup copy containing the last error-

free database.  Also, by having several incremental

backups of your database, operator errors experienced

during periods of "temporary insanity" while attempting

to restore a backup will have less impact.

IV. INTRODUCTION TO THE DATABASE CONCEPT

The term "Database Management" may seem somewhat mysterious

to the inexperienced user.  Actually, most people have

exercised some type of database management in their daily

lives.  A recipe card system or shoe box full of records are

examples of basic database management systems.  A more

organized "paper-based" database management system is the

tradition of storing loose papers in a manila folder, in a

drop-file folder, in a file cabinet drawer, in a file

cabinet in a particular room.

A computer-based database management system also allows you

to store data in an organized fashion.  However, rather than

writing the data on paper and filing the paper, the data is

entered into a computer database application, stored on a

computer disk and made accessible through computer generated

reports.

The computer-based database enjoys several advantages over the

paper-based management system.  The system requires far less storage

space for a given amount of data, retrieval is far more flexible,

Page 11

and operating on a computer network, the information can be

input into the system and retrieved by many different people

not located together.  Actually, everyone uses a type of

network to distribute information from one office or desk to

another.  Since the invention of the pencil and paper,

people have been using "sneaker-net" to transfer information

back and forth.  With the advent of electronic

communications, Local Area Networks (LANs) and Wide Area

Networks (WANs) are used to pass information from place to

place.

V. DATABASE STRUCTURE and TERMINOLOGY

It can be difficult to visualize a computer database because

you cannot see it like paper, folders and file drawers.

Interestingly, computer databases are structured

very similarly to paper-based systems.  To input data, a

FORM is used.  To look at data on the computer monitor, an

edit FORM or a REPORT TO SCREEN may be used.  To obtain a

paper (hard) copy, a REPORT TO PRINTER is generated.

Let's take a look at the basic building blocks of the R:Base

Database System.  If you were to begin organizing a large

amount of data on paper, you would no doubt create a FORM

with COLUMN headings across the top.  The headings identify

the type of information that goes into each of the COLUMNS.

Then, under each column, you would enter ROWS of

information.  If the different types of information you

entered on each row required more columns than a single

piece of paper had room for, you might continue with

additional columns on another piece of paper.  Just in case

the two pieces of paper get seperated, you might duplicate a

key column on both papers that would match up rows of data

on different pieces of paper.  This is exactly what happens

in a computer database.

(continued next page)

Page 12

�����������������������������������Ŀ   ���������������������������������Ŀ

�           TABLE ONE               �   �              TABLE TWO          �

�                                   �   �                                 �

� LastName  FirstName  Soc Sec No.  �   � Soc Sec No   Telephone    Shift �

�                                   �   �                                 �

� Jones     William    111-11-1111  �   � 111-11-1111  615/123-4565  Day  �

� Browne    Robert     222-22-2222  �   � 222-22-2222  615/993-3334  Eve  �

� White     Martha     333-33-3333  �   � 333-33-3333  615/923-9864  Day  �

� Andrews   Judy       444-44-4444  �   � 444-44-4444  615/983-1234  Day  �

�������������������������������������   �����������������������������������

���������������������������������������������Ŀ

�                                             �

�        TELEPHONE and SHIFT REPORT           �

�           SORTED by LAST NAME               �

���������������������������������������������Ĵ

�                                             �

�   LastName  FirstName  Telephone    Shift   �

�                                             �

�   Andrews   Judy       615/983-1234  Day    �

�   Browne    Robert     615/993-3334  Eve    �

�   Jones     William    615/123-4565  Day    �

�   White     Martha     615/923-9864  Day    �

�                                             �

�����������������������������������������������

The two tables above represent a simple database set up as

it might be on two pieces of paper.  Each piece of paper

(TABLE) contains information about an employee.  The two

tables are linked by the common COLUMN "Soc Sec No.".  If

the information were on paper, the Telephone and Shift

Report could be created from separate pieces of paper by

matching up the ROWS with the identical data in the Soc Sec

No. COLUMN.  Although this is an over-simplified example,

the computer generates a report by accomplishing the same

process through the applications software.  The FACILITATE

program is a multi-table database with COLUMNS and ROWS

containing data about equipment, work orders, material

inventory, purchase orders, personnel, manufacturers and

vendors.  FORMS have been created to provide an efficient

means for entry of new data and editing existing data.

FORMS may also be used to view data in the same format (or a

different one) it was entered into the database.  REPORTS

revealing information stored in one or more tables can be

displayed on the computer monitor or printed on paper.  The

FACILITATE software program contains many pre-programmed

data-entry and edit forms and reports.

Users who upgrade to the complete FACILITATE package can

create custom forms and reports to meet specific needs

without purchasing additional utility software.

Page 13

VI. UNDERSTANDING HOW FACILITATE WORKS

A.  FACILITATE Menus

FACILITATE incorporates the use of two menu styles,

vertical and horizontal.  In general, vertical menus

move you toward ACTION option menus.  Action Option

Menus and specific Action Options are displayed

horizontally.

To move around in the menus, the following keys are

used.

1.  Vertical Menus

a.  [Number Keys] to move to the corresponding menu

option.

b.  [Home], [End], [PgUp], [PgDn] to move to the top

or bottom of a menu.

c.  [Arrows] to move up and down one option at a time.

2.  Horizontal Menus

a.  [Letter] key corresponding to the first letter

in the option name moves the cursor to the next

(left to right) option beginning with that

letter.

b.  [Arrows] move the cursor one menu option at a

time.

B.   FACILITATE Vertical Menu System

The FACILITATE Menu System is built on the standard

R:Base Menu Structure.  FACILITATE application menus

are structured in tiers and numbered to indicate the

Module, Menu, Sub-Menus and Sub-Menu Options as

follows:

07.01.01 (1)

-- -- --  -

�  �  �  �

�  �  �  ���� Sub-Menu, 4th Tier Only When Applicable

�  �  �

�  �  ���� Sub-Menu, 3rd Tier (Option 1, Class Codes)

�  �

�  ����� Menu, 2nd Tier  (Option 1, Equipment)

�

����� Module, 1st Tier  (Module 07, Codes)

Page 14

As you progress through the menu system, each tier is

displayed beneath the tier preceding it.  This allows

you to see at all times where you are within the menu

system.  The purpose of the FACILITATE Menu System is

to progress you systematically to the Menu Option that

addresses the task you need to accomplish.  Most

FACILITATE menus are arranged vertically.

C.   FACILITATE Horizontal Menu Options

Horizontal Menu Options allow you to select the ACTION

you wish to take.  Menus are customized to provide the

specific action options germane to the module, menu and

sub-menu you are in.  The first horizontal option menu

you access after leaving the vertical menu system may

take you to another option menu, directly into a

functional screen, or it can lead you to prompts that

allow you to select which records you will access.

Examples of the Horizontal Option Menus are as follows:

��������������   Horizontal Option Menu   ����������Ŀ

�                                                    �

� Add    Edit    Print    List    Specific   Query   �

������������������������������������������������������

Add       Takes you to the Add Menu or directly into a

form for adding new information into the

database.

Edit      Takes you to the Edit Menu or directly into a

form for changing database information .

Print     Prints the information associated with the

Module, Menu and Option you are currently in.

Processing of the print routine may be

preceded by prompts asking you what data you

want to print and how you want it sorted.

List      Prints a list of the basic data associated

with the Module, Menu and Option you are

currently in.  Processing of the print

routine may be preceded by prompts asking you

what data you want to list and how you want

it sorted.

Specific  Searches for a specific record.  The user is

prompted to indicate the code for the

specific record to be displayed.

Page 15

Query     Searches for all records (ROWS) that contain

the specified characters in the field being

searched.  The user is prompted for the

"search string" of characters to be searched

for.  The search string can be from one

character to the maximum number of characters

in the column being searched.

Another Horizontal Option Menu looks like this:

��������������   Horizontal Option Menu   ����������Ŀ

�                                                    �

�       Add    Edit Again    Discard    Quit         �

������������������������������������������������������

Add       Adds the data on the screen to the database,

thereby saving it.  The screen is then

cleared for entry of the next record (row).

Edit      Does not save the information on the screen,

Again     but returns you to the form to allow changes

prior to saving the data.

Discard   Removes the data from the screen and the

database.  A message is displayed at the top

of the screen asking for verification before

processing of the command.

Quit      Leaves the data-entry mode after saving the

current data and returns to the previous

menu.  (Because the [ESC] key can be used to

save data and return to the previous menu in

FACILITATE, the Quit option is often not

shown.)

Another Horizontal Option Menu looks like this:

��������������  Horizontal Option Menu   �����������Ŀ

�                                                    �

� Edit  Save  Add New  Delete  Reset  Previous  Next �

������������������������������������������������������

Edit      Moves the cursor into a form to make

information changes.

Save      Saves current changes on the screen.

(Because the [ESC] key can be used to save

data and return to the previous menu in

FACILITATE, the Save option is often not

shown.)

Page 16

Add New   Enters modified data into the database as a

new row and leaves the original row in the

database unchanged.  (Can be used to enter

new data from an edit screen.)

Delete    Deletes the row highlighted by the cursor

from the database.  A message is displayed at

the top of the screen asking for verification

before processing of the command.

Reset     Undoes the latest edits, assuming they have

not already been saved.

Previous  Saves changes made to the row currently

displayed and skips to the previous row in

the table, if one exists.  If Query was used

to bring up records containing a search

string, the Previous command skips to the

previous row of data that contains the

specified search string.

Next      Saves changes made to the row currently

displayed and skips to the next row in the

table, if one exists.  If Query was used to

bring up records containing a search string,

the Next command skips to the next row of

data that contains the specified search

string.

VII. CURSOR MOVEMENT and FUNCTION KEYS

The function of most keyboard keys used in FACILITATE is

obvious and the same as in other software packages.  There

are, however, cursor movement and special function keys used

throughout FACILITATE that you may not be familiar with.  By

learning the function of the keys, the user moves easily and

quickly between FACILITATE menus and within the various

screens.  The following keyboard function outline is

provided as a reference and you may wish to post copies of

the outline at your workstation(s).  Whenever FACILITATE

instructions direct you to use a key, action words like

"strike", "hit" or "press" are followed by the name of the

key or key combination, which is enclosed in brackets

[keyname].  Whenever directed to use a [Shift-Key] or [Ctrl-

Key], you must hold down the [Shift] or [Control] key while

also pressing the other [Key] indicated.

Only the cursor movement keys used in FACILITATE are listed.

For a list of the keys used in R:Base when making changes in

the database, refer to the R:Base User's Manual.

Page 17

A.   USING THE STANDARD CURSOR MOVEMENT KEYS

Key    Description  Purpose

[ESC]  Escape       Interrupts execution of current process

In menu structure, moves one step closer to the Main Menu

[TAB]  Tab          Moves cursor 10 characters to right.

In an input form, moves cursor to next input field.

[Shift]-[Tab]

Back Tab     Moves cursor 10 characters to left.

In an input form, moves cursor to previous input field.

[Ctrl] Control      Used with [<-] and [->] keys, move cursor to far right or

left within field.

[Alt]  Alternate    Used with function keys for user-defined key map.

[<-]   Backspace    Deletes one character to the left of cursor.

[ENTER]Return Key   Accepts data and moves cursor to next line or column.

In menu structure, selects menu option currently

highlighted by the cursor

[PrtSc]Print Screen Sends image of screen to printer. Some keyboards require

concurrent use of [Shift].

[NumLock]

Number Lock  When set on, allows use of 10-key pad for numeric entry

rather that cursor control.

[Scroll Lock]       Not used in FACILITATE.

[^]    Up-Arrow     Move the cursor up one line.

In an input form, moves cursor to previous field.

[|]    Down-Arrow   Move the cursor down one line.

In an input form, advances cursor one field.

[<-]   Left-Arrow   Move cursor to left one character.

[->]   Right-Arrow  Move cursor to right one character.

[Home] Home         Move cursor to upper left corner of screen or page.

[End]  End          Move cursor to bottom right corner of screen or page.

[PgUp] Page Up      Move cursor to the previous page of a multi-page input form.

Page 18

[PgDn] Page Down    Move cursor to the next page of a multi-page input form.

[Ins]  Insert       Inserts a space at the cursor.  Must be used within an

input form field to create space for insertion of

character(s).

[Del]  Delete       Delete character at the cursor position.

B.   USING THE FUNCTION KEYS

The function keys have two purposes, depending upon

whether used in conjunction with the shift key.  As in

the table above, only the function keys used in

FACILITATE are listed.

Key          Purpose

[F2]         Erase a field.

[Shift-F2]   Erase from cursor position to end of field.

[F4]         Repeat character toggle.

[F5]         Reset field value.

[F7]         Move to previous row of data.

[F8]         Move to next row of data.

[F9]         Move to next region within an input form.

Page 19

C.   FACILITATE Data Field Type and Length

A list of the database fields indicating field type,

description and length is provided in the Exhibits

Section.

In general, database fields are as follows:

FIELD               TYPE             SIZE

Address, City       Text              25

Address, Street     Text              40

Address, State      Text               2

Address, Zip Code   Text              10

Codes               Text               8 or 12

Comments, Equipment Text             240

Comments, History   Text             240

Comments, Inventory Text             240

Contract Number     Text              12

Contract Comments   Text             600

Dates               Date               8

Descriptions        Text              40

Description, Task   Text             600

Dollar Values       Currency          Non-specific

Name, Last          Text              15

Name, First         Text              12

Telephone Number    Text              12

Telephone Extension Text               4

Pager Number        Text              12

Property Control #  Text              12

Time                Real               5

Quantities          Integer           Non-specific

VIII. A QUICK TUTORIAL

We recommend that you open this manual to Systems Module 08,

load FACILITATE and work your way through the program one

menu option at a time.  (To load FACILITATE, type "FACLTM"

from the directory FACILITATE is resident in, enter the user

name SYSTEM and the password STARTUP.)   The best way to gain

an understanding of FACILITATE is to start with Module 08

and work backward through the other menu options.  By

exploring the System and Codes Options first, the

information displayed in the "Operational Menus", 01 through

06, will have more meaning to you.

If you have problems or questions, we request that you

carefully annotate the problem and reference it to the Menu,

Sub-menu and Option you are looking at before contacting

Facilitate, Inc. for assistance.  This will help us address

your questions more quickly and effectively.

Welcome to the world of FACILITATE, we hope to help

"FACILITATE" attainment of all your professional goals.

Page 20

FACILITATE, Jr. Column/Description Reference

COLUMN   COLUMN DESCRIPTION                             COLUMN   COLUMN

TABLES COLUMN APPEARS IN                       TYPE     LENGTH

ACSCDS   Access Codes Data                              Text          8

PWDTBL

ACSPYR   Access Employee Payroll File                   Text          8

PWDTBL

ACSSYS   Access System Setup                            Text          8

PWDTBL

ACTCDA   Account Code                                   Text         12

WO_CPL

ACTCDB   Account Code                                   Text         12

WO_MTL

ACTCDE   Account Code (Facility Account)                Text         12

EQUINF ACTTBL WO_OPN

ACTDSC   Account Code Description (Facility)            Text         40

ACTTBL

ACTEQW   Account Code for Eqpt when W/Order Generated   Text         12

EQWHST

ACTORV   Facility's Account Number, This Vendor         Text         40

VNDTBL

ACTOUR   Facility's Account Number, This Manufacturer   Text         40

MFGTBL

CLSCDE   Equipment Class Code                           Text          8

CLSTBL EQUINF

CLSDSC   Equipment Class Code Description               Text         40

CLSTBL

CLSEQW   Class Code for Eqpt when Work Order Generated  Text          8

EQWHST

CLSLFE   Equipment Life in Years By Class Code          Integer

CLSTBL

CNTCDE   Equipment Service Contract Type Code           Text          8

CNTTBL CNTDTA

Page 21

CNTCMT   Equipment Service Contract Comments            Text        600

CNTDTA

CNTCST   Equipment Service Contract Annual Cost         Currency

CNTDTA

CNTDSC   Equipment Contract Type Code Description       Text         40

CNTDTA

CNTEDT   Equipment Service Contract End Date            Date

CNTDTA

CNTNUM   Equipment Service Contract Number              Text         12

CNTDTA EQUCNT

CNTRDT   Equipment Service Contract Review Date         Date

CNTDTA

CNTSDT   Equipment Service Contract Start Date          Date

CNTDTA

DPRLFE   Equipment Depreciable Life in Years            Integer

EQUINF

DTACDE   Equipment Data Code                            Text          8

DTATBL EQUDTA

DTADSC   Equipment Data Code Description                Text         40

DTATBL

DUEDTE   Work Order Due Date                            Date

EQUMPS WO_OPN

DUEDYS   Work Order Due Days                            Integer

PRYTBL WO_OPN

DUEHRS   Work Order Due Hours                           Integer

PRYTBL WO_OPN

DUEMNS   Work Order Due Minutes                         Integer

WO_OPN

DUETME   Work Order Due Time                            Time

WO_OPN

EMPAD1   Employee Address Line # 1                      Text         40

EMPTBL

EMPAD2   Employee Address Line # 2                      Text         40

EMPTBL

EMPCDA   Employee Code                                  Text          8

WO_CPL

Page 22

EMPCDE   Employee Code                                  Text          8

EMPTBL EQUDWS EQUMPS WO_OPN

EMPCHG   Employee Labor Charge Rate                     Currency

EMPTBL WO_CPL

EMPCTY   Employee Address City                          Text         25

EMPTBL

EMPDOB   Employee Date of Birth                         Date

EMPTBL

EMPDTE   Employee Date of Hire                          Date

EMPTBL

EMPFNM   Employee First Name                            Text         12

EMPTBL

EMPLNM   Employee Last Name                             Text         15

EMPTBL

EMPMNM   Employee Middle Name                           Text         10

EMPTBL

EMPOEX   Employee Office Telephone Number Extension     Text          4

EMPTBL

EMPOPH   Employee Office Telephone Number               Text         12

EMPTBL

EMPPHE   Employee Telephone Number                      Text         12

EMPTBL

EMPRTE   Employee Pay Rate                              Currency

EMPTBL

EMPSSN   Employee Social Security Account Number        Text         11

EMPTBL

EMPSTE   Employee Address State                         Text          2

EMPTBL

EMPZIP   Employee Address Zip Code w/ Extension         Text         10

EMPTBL

EQUCMT   Equipment Comments                             Text        240

EQUINF

EQUCST   Equipment Acquisition Cost                     Currency

EQUINF

EQUDSC   Equipment Description                          Text         40

EQUINF

Page 23

EQUDTA   Equipment Data associated with Data Type Code  Text         12

EQUDTA

EQUFRQ   Equipment Scheduled Maintenance Frequency      Integer

EQUMPS

EQUMDL   Equipment Model Number                         Text         40

EQUINF

EQUNUM   Equipment Index Number                         Text         12

EQUINF EQUCNT EQUDWS EQUDTA EQUMPS EQUHST WO_OPN

EQUSRL   Equipment Serial Number                        Text         40

EQUINF

FACDPT   Facility Department Name                       Text         40

FACTBL

FACNME   Facility Name                                  Text         40

FACTBL

FACVER   FACILITATE Version Number                      Text          8

FACTBL

FDATA    Data Entry Forms layout data                   Text         46

FORMS

FLEDTE   Equipment File Update Date                     Date

EQUINF

FNAME    Data entry form identifier                     Text          8

FORMS

HSTCMT   Equipment Work Order History Comments          Text        240

EQUHST

HSTCST   Equipment Maintenance Work Order Cost          Currency

EQWHST

HSTDSC   Equipment History Work Order Info Description  Text         40

EQWHST

HSTDTE   Equipment Work Order History Date              Date

EQUHST

HSTQTY   Equipment History W.O. Line Item Quantity      Real

EQWHST

HSTREF   Equipment History Completion Code or Item #    Text         12

EQWHST

INSDTE   Equipment Installation/In-service Date         Date

EQUINF

Page 24

LNENUM   Line ID Number (always set to 1)               Integer

FACTBL

LOCCDE   Location Code                                  Text         12

LOCTBL EQUINF WO_OPN

LOCDSC   Location Code Description                      Text         40

LOCTBL EQUINF WO_OPN

MFGAD1   Manufacturer's Address Line # 1                Text         40

MFGTBL

MFGAD2   Manufacturer's Address Line # 2                Text         40

MFGTBL

MFGCDE   Manufacturer's Code                            Text          8

MFGTBL EQUINF

MFGCO8   Manufacturer's Corporate Office Toll Free No.  Text         12

MFGTBL

MFGCOD   Manufacturer's Corporate Office Description    Text         25

MFGTBL

MFGCOE   Manufacturer's Corporate Office Extension No.  Text          4

MFGTBL

MFGCOP   Manufacturer's Corporate Office Telephone No.  Text         12

MFGTBL

MFGCOZ   Manufacturer's Corporate Office Time Zone      Text          1

MFGTBL

MFGCS8   Manufacturer's Corporate Sales Toll Free No.   Text         12

MFGTBL

MFGCSD   Manufacturer's Corporate Sales Description     Text         25

MFGTBL

MFGCSE   Manufacturer's Corporate Sales Extension No.   Text          4

MFGTBL

MFGCSP   Manufacturer's Corporate Sales Telephone No.   Text         12

MFGTBL

MFGCSZ   Manufacturer's Corporate Sales Time Zone       Text          1

MFGTBL

MFGCTY   Manufacturer's Address City                    Text         25

MFGTBL

MFGCV8   Manufacturer's Corporate Service Toll Free #   Text         12

MFGTBL

Page 25

MFGCVD   Manufacturer's Corporate Service Description   Text         25

MFGTBL

MFGCVE   Manufacturer's Corporate Service Extension #   Text          4

MFGTBL

MFGCVP   Manufacturer's Corporate Service Telephone #   Text         12

MFGTBL

MFGCVZ   Manufacturer's Corporate Service Time Zone     Text          1

MFGTBL

MFGLS8   Manufacturer's Local Sales Toll Free Number    Text         12

MFGTBL

MFGLSD   Manufacturer's Local Sales Description         Text         25

MFGTBL

MFGLSE   Manufacturer's Local Sales Extension Number    Text          4

MFGTBL

MFGLSP   Manufacturer's Local Sales Telephone Number    Text         12

MFGTBL

MFGLSZ   Manufacturer's Local Sales Time Zone           Text          1

MFGTBL

MFGLV8   Manufacturer's Local Service Toll Free Number  Text         12

MFGTBL

MFGLVD   Manufacturer's Local Service Description       Text         25

MFGTBL

MFGLVE   Manufacturer's Local Service Extension Number  Text          4

MFGTBL

MFGLVP   Manufacturer's Local Service Telephone Number  Text         12

MFGTBL

MFGLVZ   Manufacturer's Local Service Time Zone         Text          1

MFGTBL

MFGNM2   Manufacturer's Name, Line 2                    Text         40

MFGTBL

MFGNME   Manufacturer's Name                            Text         40

MFGTBL

MFGPO8   Manufacturer's Material Order Toll Free No.    Text         12

MFGTBL

MFGPOD   Manufacturer's Material Order Name/Description Text         25

MFGTBL

Page 26

MFGPOE   Manufacturer's Material Order Telephone Ext.   Text          4

MFGTBL

MFGPOP   Manufacturer's Material Order Telephone No.    Text         12

MFGTBL

MFGPOZ   Manufacturer's Material Order Time Zone        Text          1

MFGTBL

MFGRS8   Manufacturer's Regional Sales Toll Free No.    Text         12

MFGTBL

MFGRSD   Manufacturer's Regional Sales Name/Descript.   Text         25

MFGTBL

MFGRSE   Manufacturer's Regional Sales Telephone Ext.   Text          4

MFGTBL

MFGRSP   Manufacturer's Regional Sales Telephone No.    Text         12

MFGTBL

MFGRSP   Manufacturer's Regional Sales Telephone No.    Text         12

MFGTBL

MFGRSZ   Manufacturer's Regional Sales Time Zone        Text          1

MFGTBL

MFGRV8   Manufacturer's Regional Service Toll Free No.  Text         12

MFGTBL

MFGRVD   Manufacturer's Regional Service Name/Descript  Text         25

MFGTBL

MFGRVE   Manufacturer's Regional Service Telephone Ext  Text          4

MFGTBL

MFGRVP   Manufacturer's Regional Service Telephone No.  Text         12

MFGTBL

MFGRVZ   Manufacturer's Regional Service Time Zone      Text          1

MFGTBL

MFGSR8   Manufacturer's Service Request Toll Free No.   Text         12

MFGTBL

MFGSRD   Manufacturer's National Service Name/Descript  Text         25

MFGTBL

MFGSRE   Manufacturer's National Service Telephone Ext  Text          4

MFGTBL

MFGSRP   Manufacturer's National Service Telephone No.  Text         12

MFGTBL

Page 27

MFGSRZ   Manufacturer's National Service Time Zone      Text          1

MFGTBL

MFGSTE   Manufacturer's Address State                   Text          2

MFGTBL

MFGZIP   Manufacturer's Address Zip Code w/ Extension   Text         10

MFGTBL

MINORD   Minimum Order Criteria for this Manufacturer   Text         40

MFGTBL

MINORV   Vendor's Minimum Order Criteria or Quantity    Text         40

VNDTBL

MTLCST   Material Cost                                  Currency

WO_MTL

NUMRUL   Rule number (internal identifier)              Integer

RULES

PHYLFE   Equipment Physical Useful Life in Years        Integer

EQUINF

PO_NUM   Purchase Order Number                          Text         12

EQUINF

PRCCDE   Scheduled Maintenance Procedure Code           Text          8

PRCTBL EQUDWS EQUMPS WO_OPN

PRCTMA   Scheduled Maintenance Procedure Time           Real

WO_CPL

PRCTME   Scheduled Maintenance Procedure Standard Time  Real

PRCTBL WOTTBL EQUDWS WO_OPN EQUMPS

PRCTTL   Scheduled Maintenance Procedure Title          Text         40

PRCTBL WO_OPN

PRGCDE   Purge Transaction Code                         Text          8

PRGTBL

PRGDSC   Purge Transaction Code Description             Text         40

PRGTBL

PRGDYS   Purge Transaction Cycle Length in Days         Integer

PRGTBL

PRPNUM   Facility Property Control Number               Text         12

EQUINF

PRYCDE   Work Order Request Priority Code               Integer

PRYTBL EQUDWS EQUMPS WO_OPN

Page 28

PRYDSC   Work Order Request Priority Code Description   Text         40

PRYTBL

PSNCDE   Employee Position Code                         Text          8

EMPTBL PSNTBL WO_OPN EQUMPS EQUDWS

PSNDSC   Employee Position Code Description             Text         40

PSNTBL

RDATA    Report format data                             Text         80

REPORTS

RNAME    Report identifier                              Text          8

REPORTS

RULVAL   Rules checking data                            Text         40

RULES

SCHFRI   Scheduled for Maintenance on FRIDAY            Text          1

EQUDWS

SCHMON   Scheduled for Maintenance on MONDAY            Text          1

EQUDWS

SCHSAT   Scheduled for Maintenance on SATURDAY          Text          1

EQUDWS

SCHSUN   Scheduled for Maintenance on SUNDAY            Text          1

EQUDWS

SCHTHU   Scheduled for Maintenance on THURSDAY          Text          1

EQUDWS

SCHTUE   Scheduled for Maintenance on TUESDAY           Text          1

EQUDWS

SCHWED   Scheduled for Maintenance on WEDNESDAY         Text          1

EQUDWS

STKDSC   Material Used Stock Item Description           Text         40

WO_MTL

STKNUM   Material Inventory Stock Number                Test         12

WO_MTL

STKQTY   Material Inventory Item Quantity Used          Integer

WO_MTL

STSCDE   Equipment Status Code                          Text          8

STSTBL EQUINF

STSDSC   Status Code Description                        Text         40

STSTBL

Page 29

SVGCDA   Employee Service Group Code in W/O Completion  Text          8

WO_CPL

SVGCDB   Employee Service Group Code in W/O Material    Text          8

WO_MTL

SVGCDE   Employee Service Group Code                    Text          8

SVGTBL EMPTBL WO_OPN EQUMPS EQUDWS

SVGDSC   Employee Service Group Code Description        Text         40

SVGTBL

TABLE1   Rules checking data                            Text          8

RULES

TABLE2   Rules checking data                            Text          8

RULES

TMPCMT   Work Order Completion Temporary Comment        Text        240

WO_OPN

TSKCD1   Scheduled Maintenance Procedure Task Number 1  Text          8

PRCTBL WO_OPN

TSKCD2   Scheduled Maintenance Procedure Task Number 2  Text          8

PRCTBL WO_OPN

TSKCD3   Scheduled Maintenance Procedure Task Number 3  Text          8

PRCTBL WO_OPN

TSKCD4   Scheduled Maintenance Procedure Task Number 4  Text          8

PRCTBL WO_OPN

TSKCD5   Scheduled Maintenance Procedure Task Number 5  Text          8

PRCTBL WO_OPN

TSKCD6   Scheduled Maintenance Procedure Task Number 6  Text          8

PRCTBL WO_OPN

TSKCD7   Scheduled Maintenance Procedure Task Number 7  Text          8

PRCTBL WO_OPN

TSKCD8   Scheduled Maintenance Procedure Task Number 8  Text          8

PRCTBL WO_OPN

TSKCDE   Scheduled Maintenance Task Code                Text          8

TSKTBL

TSKDSC   Scheduled Maintenance Task Code Description    Text        600

TSKTBL

TYPCDE   Equipment Type Code                            Text          8

TYPTBL EQUINF

Page 30

TYPDPS   Default Performance/Safety Procedure           Text          8

TYPTBL EQUINF

TYPDSC   Equipment Type Code Description                Text         40

TYPTBL

TYPDSM   Default Scheduled Maintenance Procedure        Text          8

TYPTBL EQUINF

TYPLFE   Equipment Life Expectancy by Type Code         Integer

TYPTBL

USRFNM   FACILITATE USER's First Name                   Text         12

PWDTBL

USRLNM   FACILITATE USER's Last Name                    Text         15

PWDTBL

USRNME   FACILITATE USER's LOGIN NAME                   Text          8

PWDTBL

USRPWD   FACILITATE USER's LOGIN PASSWORD               Text          8

PWDTBL

VNDAD1   Vendor's Address Line # 1                      Text         40

VNDTBL

VNDAD2   Vendor's Address Line # 2                      Text         40

VNDTBL

VNDCDE   Vendor's Code                                  Text          8

VNDTBL EQUINF CNTDTA

VNDCO8   Vendor's Corporate Office Toll Free No.        Text         12

VNDTBL

VNDCOD   Vendor's Corporate Office Description          Text         25

VNDTBL

VNDCOE   Vendor's Corporate Office Extension Number     Text          4

VNDTBL

VNDCOP   Vendor's Corporate Office Telephone Number     Text         12

VNDTBL

VNDCOZ   Vendor's Corporate Office Time Zone            Text          1

VNDTBL

VNDCS8   Vendor's Corporate Sales Toll Free Number      Text         12

VNDTBL

VNDCSD   Vendor's Corporate Sales Description           Text         25

VNDTBL

Page 31

VNDCSE   Vendor's Corporate Sales Extension Number      Text          4

VNDTBL

VNDCSP   Vendor's Corporate Sales Telephone Number      Text         12

VNDTBL

VNDCSZ   Vendor's Corporate Sales Time Zone             Text          1

VNDTBL

VNDCTY   Vendor's Address City                          Text         25

VNDTBL

VNDCV8   Vendor's Corporate Service Toll Free Number    Text         12

VNDTBL

VNDCVD   Vendor's Corporate Service Description         Text         25

VNDTBL

VNDCVE   Vendor's Corporate Service Extension Number    Text          4

VNDTBL

VNDCVP   Vendor's Corporate Service Telephone Number    Text         12

VNDTBL

VNDCVZ   Vendor's Corporate Service Time Zone           Text          1

VNDTBL

VNDLS8   Vendor's Local Sales Toll Free Number          Text         12

VNDTBL

VNDLSD   Vendor's Local Sales Description               Text         25

VNDTBL

VNDLSE   Vendor's Local Sales Extension Number          Text          4

VNDTBL

VNDLSP   Vendor's Local Sales Telephone Number          Text         12

VNDTBL

VNDLSZ   Vendor's Local Sales Time Zone                 Text          1

VNDTBL

VNDLV8   Vendor's Local Service Toll Free Number        Text         12

VNDTBL

VNDLVD   Vendor's Local Service Description             Text         25

VNDTBL

VNDLVE   Vendor's Local Service Extension Number        Text          4

VNDTBL

VNDLVP   Vendor's Local Service Telephone Number        Text         12

VNDTBL

Page 32

VNDLVZ   Vendor's Local Service Time Zone               Text          1

VNDTBL

VNDNME   Vendor's Name                                  Text         40

VNDTBL

VNDPO8   Vendor's Materials Order Toll Free Number      Text         12

VNDTBL

VNDPOD   Vendor's Materials Order Name/Description      Text         25

VNDTBL

VNDPOE   Vendor's Material Order Telephone Extension    Text          4

VNDTBL

VNDPOP   Vendor's Material Order Telephone Number       Text         12

VNDTBL

VNDPOZ   Vendor's Material Order Time Zone              Text          1

VNDTBL

VNDRS8   Vendor's Regional Sales Toll Free Number       Text         12

VNDTBL

VNDRSD   Vendor's Regional Sales Name/Description       Text         25

VNDTBL

VNDRSE   Vendor's Regional Sales Telephone Extension    Text          4

VNDTBL

VNDRSP   Vendor's Regional Sales Telephone Number       Text         12

VNDTBL

VNDRSZ   Vendor's Regional Sales Time Zone              Text          1

VNDTBL

VNDRV8   Vendor's Regional Service Toll Free Number     Text         12

VNDTBL

VNDRVD   Vendor's Regional Service Name/Description     Text         25

VNDTBL

VNDRVE   Vendor's Regional Service Telephone Extension  Text          4

VNDTBL

VNDRVP   Vendor's Regional Service Telephone Number     Text         12

VNDTBL

VNDRVZ   Vendor's Regional Service Time Zone            Text          1

VNDTBL

VNDSR8   Vendor's Service Request Toll Free Number      Text         12

VNDTBL

Page 33

VNDSRD   Vendor's National Service Name/Description     Text         25

VNDTBL

VNDSRE   Vendor's National Service Telephone Extension  Text          4

VNDTBL

VNDSRP   Vendor's National Service Telephone Number     Text         12

VNDTBL

VNDSRZ   Vendor's National Service Time Zone            Text          1

VNDTBL

VNDSTE   Vendor's Address State                         Text          2

VNDTBL

VNDZIP   Vendor's Address Zip Code w/ Extension         Text         10

VNDTBL

WOCCDE   Work Order Completion Code                     Text          8

WOCTBL WO_CPL

WOCCST   Work Order Employee's Cost (EMPCHG*WOCMLT)     Currency

WO_CPL

WOCDSC   Work Order Completion Code Description         Text         40

WOCTBL

WOCDTE   Work Order Close Date                          Date

WO_OPN

WOCHRS   Work Order Completion Hrs(WOFTME-WOSTME)/3600  Real

WO_CPL

WOCMLT   Work Order Completion Multiplier               Real

WO_CPL

WOCTME   Work Order Close Time                          Time

WO_OPN

WOFTME   Work Order Labor Finish Time (this line item)  Time

WO_CPL

WOLDTE   Work Order Labor Date (this line item)         Date

WO_CPL

WOSTME   Work Order Labor Start Time (this line item)   Time

WO_QUE   Work Order Request: (P)rint, (Q)ueue, (S)ave   Text          1

WO_OPN

Page 34

FACILITATE, Jr. Menu System Outline

00.00.00 - Main Menu

01.00.00 - Work Order Information Menu

01.01.00  Generate a Work Order

01.02.00  Generate a Completed Work Order

01.03.00  Edit Work Orders

01.03.01  Edit by Work Order Number

01.03.02  Edit by Originator Name

01.03.03  Edit by Originator Phone Number

01.03.04  Edit by Originator Phone Extension

01.03.05  Edit by Location Code

01.03.06  Edit by Location Description

01.03.07  Edit by Account Code

01.03.08  Edit by Work Order Description

01.03.09  Edit by Employee Code

01.04.00  Work Order Completion

01.04.01  Complete a Work Order

01.04.02  Add Work Order Equipment History Information

01.04.03  Add Work Order Labor Information

01.04.04  Add Work Order Materials Information

01.05.00  Process Work Orders in Queue

01.05.01  Print All Work Orders in Queue

01.05.02  Print Work Orders Selected for Print

01.05.03  Print Work Orders by Priority Level

01.05.04  Print Work Orders by Service Group

01.05.05  Print Work Orders by Employee Code

01.05.06  Print Work Orders by Account Code

01.05.07  Print Work Orders by Location Code

01.05.08  Print Work Orders by Due Date

01.05.09  Print Work Orders by Work Order Type Code

01.06.00  Edit Work Orders in Queue

01.07.00  Re-print Work Orders

02.00.00 - Work Order Reports Menu

02.01.00  Open Work Order Reports Menu

02.01.01  All Open Work Orders

02.01.02  Service Group

Page 35

02.01.03  Employee

02.01.04  Account

02.02.00  Delinquent Work Order Report

02.03.00  Work Order Completion Labor Report

02.04.00  Accounting Report

03.00.00 - Maintenance Schedules Menu

03.01.00  Create/Edit Maintenance Schedules

03.01.01  Create/Edit by Equipment Number

03.01.02  Create/Edit by Location Code

03.02.00  Create/Edit Daily/Weekly Maintenance Schedules

03.02.01  Create/Edit by Equipment Number

03.02.02  Create/Edit by Location Code

03.03.00  Generate Work Orders from Schedules

03.04.00  Generate Daily/Weekly Work Orders from Schedules

Sunday

Monday

Tuesday

Wednesday

Thursday

Friday

Saturday

03.05.00  Maintenance Schedule Reports

03.05.01  Daily/Weekly Hours Report

03.05.02  Maintenance Schedule Hours Report

04.00.00 - Equipment Management Menu

04.01.00  Add or Delete Equipment Items

Add

Edit

Datatype

Contracts

D/W_Sch

Mnt_Sch

Delete

04.02.00  Edit Equipment Information

Number

Page 36

Descrip

Class

Type

Status

Account

Location

Property

Vendor

Manufg

Serial

In-Svc

File

Comments

Datatype

DataSearch

04.03.00  Print Equipment Information

All

Number

Class

Type

Account

Location

04.04.00  Print Equipment List

All

Number

Class

Type

Status

Location

Account

Vendor

Manufg

Serial

In-Svc

Datatype

DataSearch

Warranty

05.00.00 - Equipment and Service History Menu

05.01.00  Add/Edit History Information

05.02.00  Print History Information

05.02.01  History Information Report

05.02.02  History Comments Report

06.00.00 - Maintenance Contracts Menu

Page 37

06.01.00  Add New Contracts

06.02.00  Edit Contract Information

06.03.00  Print Contract Information

06.03.01  All Contracts

06.03.02  Contract Vendor

06.03.03  Review for Renewal Date

06.03.04  Equipment Serviced by Contract Report

06.04.00  Add/Edit Contract Service on an Equipment Item

06.05.00  Add/Edit Equipment List on A Contract

07.00.00 - Codes Maintenance Menu

07.01.00 - Equipment Codes Menu

07.01.01  Equipment Class Codes

07.01.02  Equipment Type Codes

07.01.03  Equipment Status Codes

07.01.04  Equipment DataType Codes

07.01.05  Manufacturer Codes

07.01.06  Vendor Codes

07.01.07  Contract Type Codes

07.02.00 - Work Order Codes Menu

07.02.01  Work Order Type Codes

07.02.02  Work Order Status Codes

07.02.03  Work Order Completion Codes

07.02.04  Work Order Priority Codes

07.02.05  Maintenance Procedure Codes

07.02.06  Maintenance Task Codes

07.03.00 - General Codes Menu

07.03.01  Account Codes

07.03.02  Location Codes

07.03.03  Employee Codes

07.03.04  Position Codes

07.03.05  Service Group Codes

08.00.00 - System Maintenance Menu

08.01.00 - Set Passwords

08.01.01  Add Users to System

08.01.02  View User Information

08.01.03  Delete a User

Page 38

08.02.00 - Set Global Information

08.03.00 - Post Work Order Transactions

08.04.00 - Purge Old Transactions

08.04.01  Purge Old Transactions

08.04.02  Edit Transaction Purge Cycle Length

08.05.00 - Database Maintenance

Page 39

WORK ORDER INFORMATION MODULE (Option 01.00.00)

Prerequisites to Data Entry

Prior to using this module, you must have applicable code and description data

entered for:

All Equipment Codes      (Option 07.01.00)

All Work Order Codes     (Option 07.02.00)

All General Codes        (Option 07.03.00)

Work Order Information Menu  (Option 01.00.00)

Purpose:  Open, edit, print, and close work orders.

View information about existing work orders.

Edit and process the work order queue.

How to:   To access work order information options, select one of the

options 1 through 7.

Info:   Each option is described below.  The data entry field table provides

summary information about each data entry field.

Generate a Work Order  (Option 01.01.00)

Purpose:  Open a new work order or view an existing work order.

How To:   Enter the data called for in each field.  As you use the [ENTER] key,

the cursor will move to the next data entry field.  To move around

within the data entry fields and between fields on the forms, use the

Edit and Cursor movement keys as described in the Introduction to

FACILITATE.  The prerequisites to data entry must be entered first as

many of the fields are required entries.

Database

Info:     The following table shows the type of field, field size and whether

the data is (R)equired or (O)ptional for each field.

For TYPE,     T =    TEXT for alphanumeric data

I =    INTEGER for numeric data only

D =    DATE for date format xx/xx/xx.  /'s must be entered.

$ =    CURRENCY for currency format $ xxxx.xx

R =    REAL

C =    CLOCK TIME, in 24 hour format, Hours:Minutes:Seconds

V =    VARIABLE defined for this field only

For SIZE, the total possible number of characters is shown.

Page 40

For REQ,      R =    Required data

O =    Optional data

A =    Automatically filled in by software.

DATA FIELD            TYPE   SIZE   REQ    COMMENTS

Requested by          :  T     25     O    Person who originated work order

request

Phone                 :  T     12     O    Requestor's telephone number

Ext                   :  T      4     O    Requestor's telephone extension

Equipment Number      :  T     12     O    Must be valid equipment number

from 04.01.00 or left blank

Equipment Description :  T     40     A    Description is from 04.01.00,

Equipment Information

Location              :  T     12     O    Defaults from Equipment Record,

Must be valid Location Code

in 07.03.02 or left blank

Location Description  :  T     40     A    Description is from 07.03.02,

May be edited for a work order

without changing

07.03.02 information.

Procedure Number      :  T      8     A    Defaults from Equipment Record,

Editable, must be valid

procedure number in Module 07

Request               :  T    600     O    Description of request.

Words are broken at line end on

screen but are wrapped correctly

on hard copy.

Dept/Account          :  T     12     A    Defaults from Equipment Record,

Editable, Must be valid

Account Code in 07.03.01 Account

Codes

Account Description   :  T     40     A    Description from 07.03.01,

Account Codes

Request Date          :  D            R    Defaults current System Date.

Editable, for proper format, must

include /'s

Time                  :  C            R    Defaults current System Time.

Editable, must be in 24-hour format

(13:00)

Page 41

Work Order Number     :  I            A    Computer assigned after exiting

screen.

Priority              :  I            R    Must be valid Priority Code in

07.02.04, Work Order Priority Codes

Priority Description  :  T     40     A    From Priority Code Description

Due In                :  I            A    Work Order due in Days/Hours:Minutes,

computed based on priority code

Due Date              :  D            A    Computed from Priority Code

and current System Date

Due Time              :  T            A    Computed from Priority Code

and current System Time

Employee              :  T     12     O    Employee Code to whom work order

is assigned

Employee Description  :  T     40     A    Employee's Name from 07.03.03

Employee Codes

Position              :  T     12     A    Employee's Position Code,

if employee code is entered

Service Group         :  T     12     A    Must be valid Service Group Code

in 07.03.05.  Default is

employee's normal Service

Group.  May be edited without

changing employee's normally

assigned service group.

Svc Group Descripton  :  T     40     A    Description from 07.03.05,

Service Group Codes

Work Order Type       :  T     12     R    Must be valid Work Order Type Code

in 07.02.01, Work Order

Type Codes

W.O. Type Description :  T     40     A    Description from 07.02.01,

Work Order Type Codes

Estimated Time        :  C            O    Estimated time to complete work

order in hours:minutes

Work Order Status     :  T     12     A    Must be valid Work Order Status Code

in 07.02.02, Work Order Status Codes

WO Status Description :  T     40     A    Description from 07.02.02,

Work Order Status Codes

Page 42

Queue Work Order      :  T      1     R    Selection determines whether work

order is printed, put in

queue for future printing

or saved only.  P = Print, Q = Queue,

S = Save Only.  Default is Q.

To Return to Page One, Hit [PAGE UP] Key.

Upon entry of the last data field, the Add, Edit, Discard Menu will appear at

the top of the page.  Select:

ADD:          Add work request to the database and process the work order as

indicated by the work order codes flag settings.

EDIT

AGAIN:        Return to the work order request

DISCARD:      Delete the work order request in its entirety.

[ESC]:        Save the work order request and process the work order as

indicated by the work order codes flag settings, return

to the work order information menu.

Generate a Completed Work Order  (Option 01.02.00)

Purpose:         Open and close a work order at the same time.

Info:            When a work order has been completed prior to entry in the

database, this screen allows you to open and close it in

one operation.

Database

Info:            The database information presented under Manual Section

01.01.01 applies to this section as well.  Additional

database information is as follows:

DATA FIELD                     TYPE    SIZE  REQ  COMMENTS

Work Order Completion Comments  : T     240   O   Comments about the work order

that need not be saved in the

equipment work order

history file.  These comments

are deleted when the work

order is purged.

Work Order Close Date           : D           A   Current computer system date

Work Order Close Time           : C           A   Current computer system time

in 24-hour format

Page 43

Work Order History Flag         : V       1   A   "Y" denotes desire to enter

equipment work order history

data.  Default is "Y"es

Work Order Labor Flag           : V       1   A   "Y" denotes desire to enter

equipment work order labor

data.  Default is "Y"es

Work Order Material Flag        : V       1   A   "Y" denotes desire to enter

equipment work order

material data.

Default is "Y"es

How To:   Completed Work Order Information is entered in the same fashion

as Generate a Work Order in 01.01.00, except:

1.      The request Date and Time must be manually entered.

2.      Work Order Completion Comments are entered as the work

opened.  Work Order Completion Comments are saved only

work order is purged from the system, so should be

brief and entered only when needed.

3.      The Work Order Close Date and Time are entered by the

as the current date and time.

4.      Flags are entered to indicate the desire to enter Work

Order History/Labor/Material Order information.  When

"Y"es flags are entered, additional forms come up to

provide a place to enter that data.

For detailed information about entry of Work Order History

data, please refer to Manual Section 01.04.00, Work Order

Completion.

Edit Work Orders  (Option 01.03.00)

Purpose:         Change information in an existing work order.

Info:            Work order information can be changed any time prior to

posting.

How To:          Work order requests can be recalled for view/edit in several

ways as shown below.  Once you have a work order request on

the screen, the edit is accomplished the same way, regardless

of how the work order requests were recalled.

For a Specific Work Order Only, select:

(1)      For specific Work Order Number (Recalls one only)

For a Group of Work Order Requests, select:

Page 44

(2)      Originated by a Person(s) whose name contains the

characters you specify as a "search string".

(3)      Containing a specific Originator's Telephone Number

(4)      Containing a specific Originator's Telephone Extension

(5)      Containing a specific Location Code

(6)      Whose Location Description contain the characters you

specify as a "search string".

(7)      With a specific Account Code

(8)      With a Work Order Request Description containing the

character sequence you specify as a "search string".

(9)      Assigned to a specific employee by Employee Code.

Helpful

Hint:            To find a work order that lacks data in a particular data

field, select that sort criteria, then hit the [ENTER] key

without specifying a search parameter.

Work Order Completion  (Option 01.04.00)

Purpose:    Enter and/or edit labor, material, comment and history data, then

close the work order.

Info:       Work order completion data can be changed any time prior to posting.

How To:     Work Order Completion data can be entered through several screen

options.  Select one of the options shown below:

(1)      Complete Work Order by Work Order Number

a.     Work Order Number:  Enter the Number of the Work Order to be

completed.

b.     Equipment Number:  Verify the Equipment Number, edit if

required.

c.     Location Code:  Verify the Location Code, edit if required.

d.     Location Description:  Verify Location Description, edit if

required.  The Location Description may be changed for a

single work order without changing the description

associated with the Location Code in 07.03.02.

Page 45

e.     Comments:  Enter Work Order Completion Comments.  CAUTION:

This data is not retained after the work order is purged.

Do not enter comments intended for the work order history

record.

f.     Work Order Status Code:  Enter the Work Order Status Code.

To close the work order, enter Status Code "CD", Closed.

g.     Close Date:  Enter Work Order Close Date.

CAUTION:  What is entered for the close date deserves some management

deliberation.  This date is what the software looks at to

post labor data to the labor management module.  Normally,

this date can be entered as the date the work order is

closed by the data entry person.  However, if the data entry

person is running way behind, this could cause some problems

when you generate labor productivity reports.  Some

unexpected results can be obtained, especially if a lot of

work actually accomplished in one pay period or month is

entered with a close date of another pay period or month.

When productivity reports are generated, it would appear

that nothing was accomplished during one pay period and

everyone did more than is possible in the pay period that

the work orders were closed in.

h.     Close Time:  Enter the Work Order Close Time.

i.     Work Order History:  Enter the appropriate Work Order

History, Labor, and Material data flags.

These flags indicate to the software the intent to enter

data of each type as a part of the work order close process.

The defaults are "Y"es for all of these.

j.     Saving the Completion Data:  Upon use of the [ENTER] key to

input the Material data flag, the cursor moves to

the top of the completion screen to indicate that you

are finished with this part of the process.  Use the [ESC]

key to save the data entered to this point and advance to

the History, Labor, and Material data input

forms, depending upon the flag setting for each.

Work Order History Completion Form

k.     W.O. Number:  Enter the number of the work order for which

you want to enter labor data.  The default is the work order

you are closing, but it can be changed.

l.     Date:  Enter the date associated with the History

information being entered.

m.     Work Order History:  Enter the Work Order History

information to be saved in the permanent equipment history

record.  When the narrative is complete, or the space is

full, use the [ESC] key to bring up the  Add/Edit/Discard

Page 46

menu.  If more history is to be entered for the work order,

use the [ENTER] key to save the data already input and move

back into the form to add more data.  If the history data is

complete, use the [ESC] key a second time to save the

history data and advance to the next work order completion

section.

Work Order Labor Completion Form

More than one row of information can be entered for a work

order.  Several employees may report labor data for one work

order and one employee may report several tasks on a single

work order.  Each task is entered in a separate row.

n.     W.O. Number:  The default work order number is that of the

work order being completed, but it can be changed.

o.     Employee:  Key in the Employee Code of the employee who

accomplished the task(s).  When the [ENTER] key is used, the

employee's name appears immediately below.

p.     W.O. Cpl:  Enter the Work Order Completion Code for the task

reported.  When the [ENTER] key is used, the description of

the  completion code appears to the right of the employee's

name.

q.     Date:  Enter the date the employee took the action reported

on this row.

r.     Start:  Enter the time (24-hour time format) the employee

reported Starting the task reported in this row.

s.     End:  Enter the time (24-hour time format) the employee

reported finishing the task reported in this row.

t.     MLT:  Enter the payroll multiplier to indicate whether the

hours reported where at the regular or overtime rate.

u.     Upon entry of the MLT data for the last labor data row for

the work order, use the [ESC] key to save the data and bring

up the  Add/Edit/Discard menu.  If you use the [ENTER] key

to save the MLT data on the last row, you will get an error

message when you use the [ESC] key to bring up the

Add/Edit/Discard menu.  When this happens, select Discard.

A message "Hit ENTER to discard this row, [ESC] to cancel"

appears.  Use the [ENTER] key to discard the last row (with

no data) and then the [ESC] key to bring up the

Add/Edit/Discard menu.  Notice that the total time used to

complete each task has been computed and is displayed in the

Hours column.

v.     Saving the Labor Completion Data:  Use the [ESC] key to save

the labor data and advance to the next completion data form.

Page 47

Work Order Material Completion Form

One or more material items may be charged to each work

order.

w.     W.O. No.:  The default work order number is the number of

the work order being closed, but it can be changed.

x.     Item Number:  Enter the stock number of the material item

used in completion of the work order.

y.     Item Description:  Enter the description of the item used.

z.     Quantity:  Enter the quantity of the item used on the work

order.

aa.    Unit Price:  Enter the unit price of the item used.

ab.    Saving the Work Order Material Data:  To add additional

material data to the work order, use the [ENTER] key at the

Unit Price field and the cursor will save the information in

the first row and advance to the next row.  When the

information for the last item is complete, use the [ESC] key

to save the data and bring up the Add/Edit/Discard menu.

(2)      Add Work Order Equipment History Information

Work Order Equipment History Information may be entered through

this screen option for any work order.  Please refer to Manual

Section 01.04.00 (above) for instructions.  No other work

order completion data may be entered through this option.

(3)      Add Work Order Labor Information

Work Order Labor Information may be entered through this screen

option for any work order.  Please refer to Manual Section

01.04.00 (above) for instructions.  No other work order

completion data may be entered through this option.

(4)      Add Work Order Material Information

Work Order Material Information may be entered through this

screen option for any work order.  Please refer to Manual

Section 01.04.00 (above) for instructions.  No other work

order completion data may be entered through this option.

Database

Info:         The database information presented under Manual Section 01.01.00

applies to this section as well.  Additional database

information is as follows:

Page 48

DATA FIELD                     TYPE    SIZE  REQ  COMMENTS

Work Order Completion Comments  : T     240   O   Comments about the work order

that need not be saved in the

equipment work order

history file.  These comments

are deleted when the work

order is purged.

Work Order Close Date           : D           A   Current computer system date

Work Order Close Time           : C           A   Current computer system time

in 24-hour format

Work Order History Flag         : V       1   A   "Y" denotes desire to enter

equipment work order

history data Default is "Y"es

Work Order Labor Flag           : V       1   A   "Y" denotes desire to enter

equipment work order labor

data.  Default is "Y"es

Work Order Material Flag        : V       1   A   "Y" denotes desire to enter

work order material data

Default is "Y"es

Process Work Orders in Queue  (Option 01.05.00)

Purpose:  Sort and print scheduled or unscheduled work orders saved to the work

order queue.

Info:     All options in this menu produce hard copies of work orders opened in

01.01.00 and saved with the "Queue Work Order" flag of "Q".  The

various options allow you to choose which work orders currently in

"Q" will be printed.  The options are:

(1)      Print all Work Orders in Queue.  No additional selection

parameters are offered.

(2)      Print Work Orders Selected for Print

(3)      Print Work Orders by Priority Code:  Enter a valid Work Order

Priority Code to print all work orders with that code in the

Priority Code field.

(4)      Print Work Orders by Service Group Code:  Enter a valid Service

Group Code to print all work orders with that code in the

Service Group Code field.

(5)      Print Work Orders by Employee Code:  Enter a valid Employee Code

to print all work orders with that code in the Employee Code

field.

Page 49

(6)      Print Work Orders by Account Code:  Print all work orders with

that Account Code.

(7)      Print Work Orders by Location Code:  Print all work orders

with that Location Code.

(8)      Print Work Orders by Due Date:  Print all work orders which

have a due date on or before that specified.

(9)      Print Work Orders by Work Order Type Code:  Print all work

orders with that Type Code.

After selecting an option, you will be presented with the Work Order Print

Setup Screen.  You have the option of sorting the work orders by various

parameters.  You may specify NONE, for no sort, or you may specify one, two

or three levels of sorting (eg, sort by Employee, with a Location sub-sort,

further sub-sorted by Equipment Number).  Simply fill-in a value 1 thru 10

on each sort line presented.  Leaving a line blank will cause the software to

assume that no further sub-sorts are needed.  Entering a 0 will cause the

system to assume that no sorts are needed.  The system will display the number

of work orders which meet your printing criteria to help in your decision

making as to whether you want to sort or not.

The sort options are:

0 - None

1 - Account Code

2 - Due Date

3 - Employee Code

4 - Equipment Number

5 - Location Code

6 - Position Code

7 - Priority Code

8 - Service Group Code

9 - Work Order Type Code

10 - Work Order Number

Helpful   To produce work orders that lack information in a

Hint:  particular field, select printing by that field and use the [ENTER]

key before keying in selection criteria.  The computer will produce

work orders with a NULL value in that field.

Edit Work Orders in Queue  (Option 01.06.00)

Purpose:  Edit Work Orders currently in the Work Order Print Queue prior to

printing them.

Info:     This option allows you to edit work orders in the Queue

prior to making a hard copy of them.

How To:  To call up work orders currently in the Work Order Queue and edit

them:

(a)      Select "Edit" from the menu and strike [ENTER]

Page 50

(b)      Change the data in the fields to be edited, or strike the

[ENTER] key to accept what is there and move on to the next

field.

(c)      Use the cursor movement keys to move from field to field.

(d)      Use the [PgDn] and [PgUp] keys to move to and from the second

page of the work order form.

(e)      When the option produces more than more than one work order

(generally it does) use the [F7] and [F8] keys to move forward

and backward through the work orders.

Re-print Work Orders  (Option 01.07.00)

Purpose:  Obtain a copy of a work order not printed at the time it was

generated, or an additional hard copy of a previously printed work

order.

Info:     All types of work orders may be re-printed.

How To:   To print, or re-print a work order or group of work orders, select

this option, then enter the starting and ending numbers of the

range of work orders you wish to print.  Note that the same number

may be entered twice if only one work order is needed.

Helpful

Hint:     To find work orders that have NOT been assigned to an employee, use

the [ENTER] key without entering an employee code.  All unassigned

work orders are printed.

Page 51

Work Order Reports Module (02.00.00)

Purpose:  Generate Work Order Information and Accounting Reports.

Info:     Options are available to print information about Open and Delinquent

Work Orders, Labor and Accounting.

Open and Delinquent Work Order Reports may be routed to the screen or

printer.  All or a portion of the Open Work Orders may be included

in your report as follows:

(1)      All Work Orders

(2)      Work orders assigned to the specified Service Group.

(3)      Work orders assigned to the specified Employee Code.

(4)      Work orders "charged" to the specified Account Code.

Accounting Reports are directed to the printer only.

How To:  To generate Work Order Reports, select:

(1)      Open Work Order Reports

(a)      Select Option (1) to generate a report for, All Open Work

Orders

1)     Select "Printer" or "Screen" to direct your report.

2)     To terminate a report, hit the [ESC] one time only.

(b)      To limit your open work order report to a specific group:

1)     Select the appropriate menu option (2-4).

2)     Select "Printer" or "Screen" to direct your report.

3)     Enter the information requested by the prompts to

limit the scope of the report.

4)     To terminate a report, hit the [ESC] one time only.

(2)      Delinquent Work Order Reports

(a)     Select "Printer" or "Screen" to direct your report.

(b)     To terminate a report, hit the [ESC] one time only.

Page 52

(3)      Work Order Completion Labor Reports

(a)      Select "Printer" or "Screen" to direct your report.

(b)      Enter the information requested by the prompts to limit the

scope of the report.

(d)      To terminate a report, hit the [ESC] one time only.

(4)      Work Order Accounting Reports

(a)      Run 08.03.00 Post Work Order Transactions thru the date

which represents the ending date of the report needed.

(b)      Enter the starting and ending dates of the time period

for which the report is needed.

(c)      To terminate a report, hit the [ESC] one time only.

Page 53

Maintenance Schedules Module (Option 03.00.00)

Purpose:  Create or change equipment maintenance schedules.

Generate scheduled maintenance work orders and reports.

Create/Edit Maintenance Schedules  (Option 03.01.00)

Purpose:  Create, view or change maintenance schedules where the frequency of

maintenance is Monthly, Quarterly, Semi-annually, or Annually (less

than Weekly).

Info:     Maintenance schedules are created and edited by calling up the

equipment for which they apply.  Equipment can be called up by

several categories as follows:

(1)      Edit by Equipment Number for a Specific Item

(2)      Edit by Equipment Location for all Equipment with the specified

Location Code.

If an item is called for that does not have an assigned schedule, the

program asks whether or not you wish to create a schedule.  If you

and "Y"es to the prompt, the Create Maintenance Schedule Form is

displayed.

How To:  Select one of the options to pull up equipment and create, view or

edit maintenance schedules as follows:

(1)      Edit by Equipment Number for a Specific Item

(a)      Enter a valid equipment number

(b)      Computer fills in the Equipment Data and Scheduled

Maintenance Procedure Data, if it exists, and displays the

Edit Menu.

(c)      When the menu appears, select "Edit" to enter the

scheduling form.

(d)      To edit the Schedule Data shown in the region, go to (f).

If the heading data is to be edited, go to (e).

(e)      To edit Equipment information in the heading,

1.  Select "Edit" from the menu and strike [ENTER]

2.  Equipment Status:  Change or accept the Equipment

Status code.

3.  Computer fills in Equipment Status Code Description.

4.  Change or accept the Location Code.

Page 54

5.  Computer fills in the Location Code Description.

6.  Location Description may be edited.  This changes the

Location Description for this Equipment Item only.

7.  To accept the heading data and return to the menu,

strike the [ESC] key.

8.  If no procedures have been previously entered for this

equipment, the use of the [ENTER] key produces a "No

editable data in this table - Press a key from list

below" error message.  This is because their is not

data in the maintenance procedure section and you are

using an "Edit" form that requres the presence of data.

9.  Strike the [ESC] key to display the menu, select the

"Add New" function and strike the [ENTER] key.

10. Null values are entered into the maintenance procedures

region and the message "ERROR - Invalid Procedure

Code - rule violation" is displayed.

11. Strike the [ESC] key to recall the menu.

12. Select "Edit" and strike [ENTER] to advance the cursor

to the first field in the region.

13. Enter/Edit the data using the cursor movement and

[ENTER] keys.

(f)      To bypass the editing of header data and go directly to the

maintenance procedure region of the form,

1.  Strike the [F9] key to change the menu to correspond to

the region.  This is indicated by a menu color change

to coincide with the color of the region.

2.  Select "Edit" from the menu, strike [ENTER].

3.  The cursor advances to the first field of the region.

4.  Enter/Edit the data using the cursor movement and

[ENTER] keys.

5.  If no procedures have been previously entered for this

equipment, the use of the [ENTER] key produces a "No

editable data in this table - Press a key from list

below" error message.  This is because their is not

data in the maintenance procedure section and you are

using an "Edit" form that requres the presence of data.

6.  Strike the [ESC] key to display the menu, select the

"Add New" function and strike the [ENTER] key.

Page 55

7.  Null values are entered into the maintenance procedures

region and the message "ERROR - Invalid Procedure

Code - rule violation" is displayed.

8.  Strike the [ESC] key to recall the menu.

9.  Select "Edit" and strike [ENTER] to advance the cursor

to the first field in the region.

(g)      Edit the Maintenance Schedule section as follows:

1.  Procedure:  Enter the Maintenance Procedure Code for

the first procedure to be accomplished for this

equipment.

2.  Computer fills in Procedure Description.

3.  Priority:  Enter the appropriate scheduling priority

code.

4.  Computer fills in Priority Description.

5.  Position:  Enter the position number for the employee

to be assigned the scheduled maintenance work order.

6.  Computer fills in:

a.     Position Description

b.     Employee Code and Description

c.     Service Group Code and Description

d.     Estimated Time for Completion based upon the

standard time for that procedure.

7.  Frequency:  Enter the frequency code to indicate the

number of times per year the procedure is to be

performed on this equipment item.

The correct entries for maintenance frequencies are:

1 =      Monthly

2 =      Bi-monthly (Every Two Months)

3 =      Quarterly (Every Third Month)

4 =      Every Fourth Month

5 =      Every Fifth Month

6 =      Semi-Annually (Every Sixth Month)

7 =      Every Seventh Month

8 =      Every Eighth Month

9 =      Every Nineth Month

10 =      Every Tenth Month

11 =      Every Eleventh Month

12 =      Annually (Every Twelvth Month)

24 =      Every Two Years

36 =      Every Three Years

xx =      Where xx = Any number of months

Page 56

8.  Est. Hours:  Edit or accept the Estimated Completion

Time, in hours and tenths of an hour.

9.  Due Date:    Enter the date the procedure is to be

accomplished the first time.

10. Upon striking the [ENTER] key, the message "Press

[ENTER] to save changes, [ESC] to cancel changes"

appears in the upper left of the screen.  Strike the

appropriate key.

11. To return to the menu, strike the [ESC] key.

Helpful

Hint:    Each row of new data must be preceded by the use of the

"Add New" feature to place NULL or duplicated values in the row,

which can then be edited.  Once in the "Add New" feature, press

the [ENTER] key once for each row of data to be entered, then

editing of all rows is possible without recalling the menu to

add more null values.

(2)      Edit by Equipment Location

(a)      Enter valid Equipment Location Code to call up all

equipment with that code.

(b)      Enter/Edit heading and maintenance procedure information as

described under 01.02.01, Option (1), above.

Create/Edit Daily/Weekly Maintenance Schedules  (Option 03.02.00)

Purpose:  Create or change maintenance schedules where the frequency of

maintenance is Daily or Weekly.

Info:     The Daily/Weekly Maintenance Schedule System is very flexible.  By

scheduling equipment for maintenance on more than one day of he week,

you can establish schedules for once through seven times weekly.

How To:   Select one of the options to pull up equipment and create, view or

edit maintenance schedules as follows:

(1)      Add/Edit by Equipment Number for a Specific Item

(a)      Enter a valid equipment number

(b)      Computer fills in the Equipment Data and Scheduled

Maintenance Procedure Data, if it exists, and displays the

1)  Edit Menu if a Daily/Weekly Schedule has already been

established.

Page 57

2)  Add Menu if a Daily/Weekly Schedule does not exist for

the equipment.

(c)      When the menu appears, select "Edit" to enter the

scheduling form.

(d)      To edit the Schedule Data shown in the region, go to (f).

If the heading data is to be edited, go to (e).

(e)      To edit Equipment information in the heading,

1.  Select "Edit" from the menu and strike [ENTER]

2.  Equipment Status:  Change or accept the Equipment

Status code.

3.  Computer fills in Equipment Status Code Description.

4.  Change or accept the Location Code.

5.  Computer fills in the Location Code Description.

6.  Location Description may be edited.  This changes the

Location Description for this Equipment Item only.

7.  To accept the heading data and return to the menu,

strike the [ESC] key.

(f)      To bypass the editing of equipment data and go directly to

the maintenance procedure region of the form,

1.  Strike the [F9] key to change the menu to correspond to

the region.  This is indicated by a menu color change

to coincide with the color of the region.

2.  Select "Edit" from the menu, strike [ENTER].

3.  The cursor advances to the first field of the region.

4.  Enter/Edit the data using the cursor movement and

[ENTER] keys.

(g)      If no procedures have been previously entered for the

equipment number specified in Option 01.02.02, the Add

Daily/Weekly Schedule is displayed.  To establish a new

schedule,

1.  Enter a valid Equipment Number

2.  Computer fills in the Equipment Description.

3.  Enter a valid Procedure Number.

4.  Enter a valid Priority Number.

Page 58

5.  Computer fills in Priority Description.

6.  Enter a valid Position Number.

7.  Computer fills in Employee and Service Group

information.  They may be edited.

8.  Accept or edit the Standard Estimated Hours (x.xx) for

the procedure as performed for this equipment.

9.  Enter a "Y" for each day the procedure is to be

accomplished and a "N" for each day it is not to be

accomplished.

10. After entering a "Y" or "N" for Saturday, the cursor

advances to the next Add Daily/Weekly Maintenance

Schedule screen.

(2)      Edit by Equipment Location

(a)      Enter valid Equipment Location Code to call up all

equipment with that code.

(b)      Enter/Edit heading and maintenance procedure information as

described under 01.02.02, Option (1), above.

Generate Work Orders from Schedules  (Option 03.03.00)

Purpose:  Open, generate and place in queue or print scheduled maintenance work

orders from the Maintenance Schedule for equipment whose frequency of

maintenance is less often than Weekly.

Info:     Scheduled maintenance with a frequency less often than weekly are

generated through this screen.  The work orders may be printed

immediately or put in the work order queue for printing through menu

option 01.01.05 or editing through option 01.01.06.

How To:   To generate scheduled maintenance work orders:

(1)      Enter the date through which you wish to generate scheduled

maintenance work orders.

(2)      Verify the date by typing it in again.

CAUTION:  The date you enter is going to determine how many work

orders you generate.  Be careful not to type in a date far into

the future, as you may print out a box full of printed work

orders!

Page 59

(3)      Answer "N"o to the prompt "Do you wish to print work orders

immediately" if you wish the work orders to be placed in Queue.

Placing the work orders in Queue will make it possible for you

to print them using all the features of Options 01.05.00 and

01.06.00, Process the Work Order Queue and Edit the Work Orders

in Queue.

(4)      Answer "Y"es to the prompt "Do you wish to print work orders

immediately" if you want the work orders printed immediately

after they are generated.

NOTE:  The amount of time it takes the computer to generate the

scheduled maintenance work orders depends upon how long a period is

asked for and the number of items due for maintenance in that period.

Generate Daily/Weekly Work Order from Schedules (Option 03.04.00)

Purpose:  Open, place in queue or print scheduled maintenance work orders from

the Maintenance Schedule for equipment whose frequency of maintenance

is Daily or Weekly.

Info:     Scheduled maintenance with a frequency of daily or weekly are

generated through this screen.  The work orders may be printed

immediately or put in the work order queue for printing through menu

option 01.05.00 or editing through menu option 01.06.00.

How To:   To generate daily/weekly scheduled maintenance work orders:

(1)      Select the day of the week for which you wish to generate Daily

and Weekly scheduled maintenance work orders.

(2)      Enter the date to verify the day to generate work orders for.

NOTE:  If you miss a day of daily/weekly maintenance, you

normally would not go back and generate those work orders, but

would generate them for the next day.

(3)      Answer "N"o to the prompt "Do you wish to print work orders

immediately" if you wish the work orders to be placed in Queue.

Placing the work orders in Queue will make it possible for you

to sort them before printing from 01.05.00, Process Work Orders

in Queue.

(4)      Answer "Y"es to the prompt "Do you wish to print work orders

immediately" if you want the work orders printed immediately

after they are generated.

NOTE:  The amount of time it takes the computer to generate the

scheduled maintenance work orders depends upon how many

items are due for maintenance in that period.

Page 60

Maintenance Schedule Reports  (Option 03.05.00)

Purpose:  Print a report showing when equipment is scheduled for maintenance.

Info:     Maintenance schedule hours may be reported for equipment with

daily/weekly (Option 1) or monthly and less frequent (Option 2)

schedules.

Option (1), Daily/Weekly Hours Report may be requested for a single

or range of Service Groups.  It is sorted first by Service Group

Code, then by Position Code, then by Equipment Number.  Under each

Position Code, the report lists each equipment item with daily or

weekly scheduled maintenance, the standard time for completion in

hours and indicates the days the procedures are scheduled to be

completed.

Option (2), Maintenance Schedule Hours Report may be requested for a

single or range of Service Groups within a date range.  It is sorted

first by Service Group Code, then by Position Code, then by Equipment

Number.  Under each Position Code, the report lists each equipment

item, the date next due scheduled maintenance, the priority, the

schedule frequency in months and the standards time for completion in

hours.

How To:   To generate scheduled maintenance hours reports, select

(1)      Daily/Weekly Hours Report

then enter the Service Group Code range to be included in the

report.

(2)      Maintenance Schedule Hours Report

then enter the Service Group Code range and Date range to be

included in the report.

Page 61

Equipment Management Module (04.00.00)

Equipment Management Options provide input forms, edit screens and reports to

view, add, edit and print information about Equipment, Equipment Maintenance

Schedules, Equipment Contracts and Equipment History.  To select one of these

screens, use the up/down arrow keys or the number keys to move the cursor to

the appropriate line, then hit the [ENTER] key.

Prerequisites to Data Entry:

Prior to entering equipment information, you must enter codes information for:

Equipment Class Codes           (Option 07.01.00)

Equipment Type Codes            (Option 07.01.02)

Equipment Status Codes          (Option 07.01.03)

Equipment Data Type Codes       (Option 07.01.04)

Manufacturer's Codes            (Option 07.01.05)

Vendor's Codes                  (Option 07.01.06)

Contract Type Codes             (Option 07.01.07)

Maintenance Procedure Codes     (Option 07.02.05)

Maintenance Task Codes          (Option 07.02.06)

Account Codes                   (Option 07.03.01)

Location Codes                  (Option 07.03.02)

Add Equipment Items  (Option 04.01.00)

Purpose: Add new equipment items (records) to your database.

Info:    The horizontal menu presented for Adding Equipment Information is

somewhat different than other menus.  This menu offers options to:

Add       an equipment item and it's associated information to the

equipment inventory.

Edit      the information for an existing equipment item.

DataType  Add, Edit or Delete DataType information from an existing

equipment item.

Contracts Edit the contracts associated with a particular equipment

item.

D/W_Sch   Edit the Daily/Weekly Maintenance Schedule for a specific

equipment item.

Mnt_Sch   Edit the monthly and less frequent maintenance schedules.

Delete    an equipment item from the inventory (History records are

saved).

A great deal of information may be documented for each equipment item.

The following table shows the type of field, field size and whether the data is

(R)equired or (O)ptional for each field.

Page 62

Key in the data called for in each field.  As you use the ENTER key, the cursor

will move to the next data entry field.  The codes listed under prerequisites

to data entry must be entered in the Codes Module first as many of the fields

are required entries.

For TYPE,  T  = TEXT for alphanumeric data

I  = INTEGER for numeric data only

D  = DATE for date format xx/xx/xx.  /'s must be entered.

$  = CURRENCY for currency format $ xxxx.xx

R  = REAL

For SIZE,  the total possible number of characters is shown.

For REQ,   R  = Required data

O  = Optional data

A  = Automatically filled in by software.

DATA FIELD              TYPE  SIZE  REQ     COMMENTS

Equipment Number      :    T    12    R     Locally assigned

Eqpt Description      :    T    40    O     Your description of equipment

Equipment Class       :    T     8    R     From Class Codes, 07.01.01

Class Description     :    T    40    A

Equipment Type        :    T     8    R     From Type Codes, 07.01.02

Type Description      :    T    40    A

Equipment Status      :    T     8    R     From Status Codes, 07.01.03

Status Description    :    T    40    A

Account Code          :    T     8    R     From Account Codes, 07.03.01

Account Description   :    T    40    A

Location              :    T     8    R     From Location Codes, 07.03.02

Location Description  :    T    40    A

Vendor                :    T     8    R     From Vendor Codes, 07.01.06

Vendor Description    :    T    40    A

Purch Order Number    :    T     8    O     Locally assigned

Equipment Cost        :    $          O     Original purchase cost

In-service Date       :    D          R     Date placed in service

Page 63

Property Number       :    T    12    O     Facility property control #

Depreciable Life      :    I     2    R     Depreciable Life in years

Physical Useful Life  :    I     2    R     Anticipated Actual Life (yrs)

Warranty Start Date   :    D          R     Date Warranty Starts

Warranty Expire Date  :    D          R     Date Warranty Expires

Manufacturer          :    T     8    R     From Manuf's Code, 07.01.05

Manuf Description     :    T    40    A

Model Number          :    T    40    O     From equipment data plate

Serial Number         :    T    40    O     From equipment data plate

File Update Date      :    D          R     Date file last updated,

Defaults to Today's Date

Hit the PAGE DOWN Key to advance to the next page of the form.

Default SM Proc.      :    T     8    A     From Module 07.01.02, May be edited.

SM Description        :    T    40    A

Def Perf Vr/Safe      :    T     8    A     From Module 70.01.02, May be edited.

P/V/Safe Description  :    T    40    A

Comments              :    T   240    O     Free form entry of comments

Eqpt DataType         :    T     8    O     From DataType Codes, 07.01.04

DataType Description  :    T    40    A

DataType Data         :    T    12    O     Data Relating To Data Type

To Return to Page One, Hit PAGE UP Key;

To Save Information, Hit [ESC] Key to bring up ADD Menu, then

Hit ENTER key to Add new record to database.  Cursor will return to first data

field for next record.

To Return to Equipment Data Menu, Hit [ESC] Key twice.

How To:  To input, view, edit or delete information about equipment, select:

(1)   To Add an Equipment Item,

(a)   Select "Add"

(b)   The Equipment Information Input Form will appear.

Page 64

(c)    Enter the data for each data field using the information in

the Information Section above.

(2)    To Edit information about equipment,

(a)    Select "Edit"

(b)    Enter the Equipment Number.

(c)    Edit information using the instructions provided under

Option 04.02.00, below.

(3)    To Add, Edit or Delete DataType information from the Add

Equipment Menu,

(a)    Select "DataType"

(b)    Enter the appropriate equipment number.  The computer

response depends upon whether or not the equipment item

you enter already has a DataType Code assigned.

(c)    Upon entry of a valid equipment number that already has at

least one DataType Code assigned, the Edit Equipment

DataType Information Menu will appear.  All DataType Code

and DataType Data information may be edited or deleted.

To add a new datatype code, use the "Add New" feature of

the edit screen as follows:

1)   Use the [F8] key, or "Next", to advance the cursor to

the last DataType code entered.

2)   Select "Add New" from the menu.

3)   A new row of DataType information us created at the

bottom of the form.

4)   Select "Edit" from the menu.

5)   Edit the newly created row of information to "Add" the

new DataType Code and DataType Data.

(d)    Upon entry of the equipment number of an item that does

not already have at least one DataType Code entry the

Add Equipment DataType screen will be displayed.

Helpful Hint:  If you wish to add an equipment DataType

code to several existing equipment items, you can to do so

very easily using the Add Equipment DataType screen.

However, be aware of caution below.

CAUTION:  Be careful when using the Add Equipment DataType

screen to add datatypes to equipment items that already

Page 65

have datatype codes assigned.  To allow maximum user

flexibility in the use of DataType Codes, there can be no

"Rule Checking" to warn you that you are duplicating

datatype entries.  Because you can not see the existing

DataType Codes assigned to an equipment item while using

the Add Equipment DataType Information screen, it would be

very easy to unintentionally duplicate entries.

(4)    To Edit Equipment Contract information from the Add Equipment

Menu,

(a)    Select "Contracts"

(b)    Enter the appropriate equipment number.

(c)    The edit or add form will be displayed depending upon whether

or not contracts exist for the equipment number entered.

(5)    To Edit Equipment Daily or Weekly Maintenance Schedule from the

Add Equipment Information Menu,

(a)    Select "D/W_Sch"

(b)    Enter the appropriate equipment number.

(c)    The appropriate add or edit form will be displayed.

(6)    To Edit Equipment Monthly Maintenance Schedule from the Add

Equipment Information Menu,

(a)    Select "Mnt_Sch"

(b)    Enter the appropriate equipment number.

(c)    The appropriate add or edit form will be displayed.

(7)    To Delete an Equipment Item from the database from the Add

Equipment Information Menu,

(a)    Select "Delete"

(b)    Enter the number of the equipment item to be deleted.

(c)    The program will display a WARNING: message and ask you to

verify that you wish to delete the equipment item.  All

data associated with the equipment item, except the

history data, will be deleted.

(d)    Answer "Y" to delete or "N" to save the item and hit

[ENTER].

Page 66

Edit Equipment Items  (Option 04.02.00)

Purpose:  Edit information about equipment items in database.

Look up equipment records containing specific data, a range of data

or a range of dates.

Info:     New equipment items may not be entered from this screen.

How To:   Equipment records previously entered in Screen 04.01.00 can be looked

up and edited in this screen.  You may call up a single or several

equipment records depending on which look-up option you select.  Use

the [ARROW] keys, [PAGE UP/DOWN], [HOME] and [END] KEYS to select a

look-up option.  The following chart defines each option on the menu.

LOOK-UP

OPTION      DESCRIPTION

Number      Equipment Item Number.

a.      To look up one item number only, enter the number and

answer "N" to the prompt to indicate it is a specific

number look-up.

b.      To look up all item numbers containing a search string,

enter the string of characters to be looked up and answer

"S" to the prompt to indicate the entry is to be treated as

a search string.

Descrip     Enter a string of characters to search for and edit all

equipment items with a description containing search string

entered.

Class       Enter Equipment Class Code to edit all items with the class

code.

Type        Enter Equipment Type Code, to edit all items with the type code.

Status      Enter Equipment Status Code to edit all items with that code.

Account     Enter an Account Code to edit all equipment identified to that

account.

Location    Enter a Location Code to edit all equipment identified to a

particular location.

Property    Enter a Property Number to edit the equipment item(s) with that

property number.

Vendor      Enter a Vendor Code to edit all equipment associated with a

particular vendor.

Manufg      Enter a Manufacturer's Code to edit all equipment manufactured

by a specific company.

Page 67

Serial      Enter an Equipment Serial Number to edit all equipment with that

serial number.  Normally this is used to look up an item by

serial number.  Be careful, equipment manufactured by different

companies could have the same serial number.

In-Svc      Enter a beginning and ending date to edit all equipment put into

service on a specific date or range of dates.

File        Enter a beginning and ending date to edit all equipment records

entered or updated on a specific date or range of dates.  This

is particularly useful as a quality control tool to look at data

entered on a specific date.

Comments    Enter a string of characters to search for and edit all

equipment items with a comments section containing the search

string entered.

DataType    Enter a DataType Code to search for and edit all equipment

DataType records containing a specific data type code.

DataSearch  Enter a DataType Code and a String of Characters to search for

and edit equipment datatype records containing both the specific

datatype code and the indicatated character string in the

DataType Data Field.

Use the EDIT MENU options to edit equipment records and move from record to

record.  Edit Menu options are explained in the Introduction to FACILITATE.

Print Equipment Information  (Option 04.03.00)

Purpose:  Print information about an equipment item to Screen or Printer.

Info:     The Equipment Information Report prints the information shown on page

one of Screen 04.01.00.  The data on page two is not printed.

How To:   Select (All) to print information about all equipment in the

database.  Use the other look-up options to select a specific or a

range of items to be printed.  The descriptions of the look-up

options in this screen are the same as those described under Screen

04.02.00, above.

Page 68

Print Equipment List  (Option 04.04.00)

Purpose:  Print a list of equipment to Printer.

Info:     The Equipment List Report prints a list of equipment item numbers

with the equipment description , the location code and location

description.  When the "Warranty" option is selected, the warranty

start and stop dates are also shown.   When the "Serial" option is

selected the serial number is also shown.  When the "Datatype" or

"DataSearch" options are selected, the Datatype information is

also shown.

How To:   Select "All" to print information about all equipment in the

database.  Use the other look-up options to select a specific or a

range of items to be printed.  The descriptions of the look-up

options in this screen are the same as those described under Screen

04.02.00, above.

Page 69

Equipment and Service History Module (Option 05.00.00)

Add/Edit History Information  (Option 05.01.00)

Purpose:  Add new history, or change existing history information for a

specific equipment item.

Info:     Equipment History Information is normally added during the work order

close process.  If no Equipment History Information has been entered

for an equipment item, it will be necessary to go to Option 01.04.02,

to enter the intial equipment history record.

After an initial equipment history record has been established,

history may be added (using Add New menu option), edited or simply

viewed through this screen.  Equipment records may be pulled up by

Equipment Number.

How To:   To add, edit or view Equipment History Data,

(1)  Select the menu option to pull up the appropriate equipment

history records.

(2)  Fill in the data requested by the prompts.

(3)  Select the appropriate Edit Menu Option.

(4)  To Edit Equipment Information, enter the correct information and

hit [ENTER] to advance to the next field.  Upon editing the

Location Description field, the cursor will advance to the

Equipment History area of the input form.

(5)  To advance to the Equipment History area of the input form

without editing the Equipment Information fields, select Edit

from the menu, then hit the [F9] key to advance the cursor

directly to the Equipment History area.  Once the cursor is

within the Equipment History area, the [F7] and [F8] keys may be

used to look at the "previous" and "next" history information

entry.

(6)  When finished with the input form, hit [ESC] to return to the

menu.

Page 70

Print History Information  (Option 05.02.00)

Purpose:  Print historical cost information for a specific equipment item to

screen or printer.  Print historical work order comments to printer.

Info:     These options are used to print Equipment History Information or

History Comments for a specific equipment item.  The History

Information is constructed by the Work Order Posting routine and

includes Labor and Material information for all work orders performed

on this equipment number.  The History Comments report list all

narrative information input via 05.01.00 Add/Edit History Comments

and 01.04.01 Complete a Work Order, and 01.04.02 Add Work Order

Equipment History Information.

How To:   To print Equipment History Information or Comments, select,

(1)  History Information Report

(a)  Enter the number of the equipment item for which Equipment

History Information is to be printed.

(b)  Enter the starting and ending dates for the time period to

be included in the report.

(c)  Route the report to the computer monitor or printer by

selecting "Printer" or "Screen".

(d)  If the report is directed to the "Screen", it may be

necessary to "hit any key" one or more times before the

reaching the end of the report.

(e)  When the "End of Report" prompt is displayed, hit any key

to return to the menu.

(2)  History Comments Report

(a)  Enter the Equipment Item Number

(b)  Report of History Comments is directed to printer.

Page 71

Maintenance Contracts Module (Option 06.00.00)

Add New Contracts  (Option 06.01.00)

Prerequisites to Data Entry:

Prior to entering contract information, you must enter codes information for:

Contract Type Codes    (Option 07.01.07)

Vendor Codes           (Option 07.01.06)

Purpose:  Add a new contract to the database.

Info:     The specific information about a equipment service or other contract

is entered only once.  Screens 06.04.00 and 06.05.00 are then used to

identify which equipment is covered by the contract.

How To:   Key in the data called for in each field.  As you use the [ENTER]

key, the cursor will move to the next data entry field.  The codes

listed under Prerequisites to Data Entry must be entered in the Codes

Module first, as many of the fields are required entries.

The following table shows the type of field, field size and whether the data is

(R)equired or (O)ptional for each field.

For TYPE,      T =   TEXT for alphanumeric data

I =   INTEGER for numeric data only

D =   DATE for date format xx/xx/xx.  /'s must be entered.

$ =   CURRENCY for currency format $ xxxx.xx

R =   REAL

For SIZE, the total possible number of characters is shown.

For REQ,       R =   Required data

O =   Optional data

A =   Automatically filled in by software.

DATATYPE                 TYPE    SIZE  REQ    COMMENTS

Contract Type         :     T       8    R    From Contract Codes, 07.01.07

Type Description      :     T      40    A

Vendor Code           :     T       8    R    From Vendor Codes, 07.01.06

Vendor Description    :     T      40    A

Comments              :     T     600    O    Free form entry of comments

Start Date            :     D            R    Date contract starts

Review Date           :     D            R    Date to review contract

Termination Date      :     D            R    Date contract expires

Contract Cost         :     $            R    Annual contract cost

Page 72

Edit Contract Information  (Option 06.02.00)

Purpose:  View and Edit information about a contract previously entered in the

database.

Info:     Contract Information records may be pulled up by contract number.

How To:   To view and edit Equipment Contract Information,

(1)    Enter the Contract Number.

(2)    Edit the Contract Data.

(3)    When you are finished viewing or editing, hit [ESC] to

return to the menu.

Contract Information Reports Menu (Option 06.03.00)

Purpose:  Print equipment contract information.

Info:     By selecting Option 06.03.00, you pull up a menu for printing the

information for all or specific contracts.

How To:   To print Equipment Contract Information,

(1)    Enter the appropriate menu option number to pull up the

contracts to be printed.

(2)    Enter the data requested by the prompts.

Add/Edit Contract Service on an Equipment Item  (Option 06.04.00)

Purpose:  Add, edit or delete contract(s) associated with an equipment item.

Info:     This option is designed for attaching one or more contracts to a

single equipment item.  To attach more than one equipment item to a

single contract, use option 06.05.00.

How To:   To add, edit or delete a contract for an equipment item,

(1)    Select Option (4) from the menu.

(2)    Enter the number of the equipment to which contract data is to

be added, viewed or deleted.

(3)    Select the appropriate Edit Menu Option.

(4)    When finished with changes, hit [ESC] to return to the menu.

Page 73

Add/Edit Equipment List on A Contract  (Option 06.05.00)

Purpose:  Add or change equipment covered on a contract.

Info:     This menu option is for use when adding or changing the equipment

items associated with a specific contract.  Use option 06.04.00 to

add or change contracts associated with a single equipment item.

How To:   To add or edit the equipment items associated with a specific

contract,

(a)    Select Option (5) from the menu.

(b)    Enter the contract number to be viewed or edited.

(c)    Select the appropriate Edit Menu Option.

(d)    Edit the Contract Information by entering the correct data and

hitting the [ENTER] key.  Upon entry of the Contract Cost data,

the cursor will advance to the Equipment Number area of the

input form.

(e)    To advance to the Equipment Number area of the input form

without advancing through each of the Contract Information

fields, use the [F9] key.  Enter the number of the equipment

items associated with the contract.

(f)    When finished with the input form, hit [ESC] to return to the

menu.

Page 74

Codes Maintenance Module (07.00.00)

The use of codes throughout FACILITATE makes it easy to standardize information

and sort data in a minimum amount of time.  Very little knowledge about

database operations is required to use the system efficiently and effectively.

The use of codes ensures that valid sorts can be accomplished without fear of

missed records.  It also reduces the amount of disk space required to save data

that is repeated for many equipment or supply items.  Each of the codes and

suggested uses are explained in this section.

Most codes are user-definable and serious consideration should be given to how

they'll be used to identify your equipment, supplies and employees.  You will

want to run some test reports after you enter some test information so that you

can visualize how the various codes will be treated by the software.

DATA ENTRY, EDIT and PRINT

Data Entry, Edit and Print are virtually the same for all codes.  To Add,

Edit, Delete, Print or Search for a Code or Code Description, access the

appropriate Menu Option.  As you move from the vertical menu to horizontal

menu options, select Add, Edit, Print, Specific or Query to proceed to the

desired ACTION.  Each of these menu options is explained in the Introduction

to FACILITATE, Paragraph VI, Understanding How FACILITATE Works.

Where additional instructions are appropriate to a specific code, they are

shown under the How To: section.

DATA FIELD INFORMATION

For Data Field Information, see Understanding FACILITATE in the

Introduction to FACILITATE.

A seperate listing of all fields, field types and their length can be

found in the introductory material.

Page 75

EQUIPMENT CODES  (Option 07.01.00)

Equipment Class Codes  (Option 07.01.01)

Purpose:  Categorize equipment.  Usually used to place each device into a broad

category to separate it from other equipment on a facility-wide

basis.

Info:     You may wish to use your accounting department's equipment class

codes, then use the type codes section to differentiate equipment in

a way specifically meaningful to your operation.  Reports you

generate by class will then be easily recognized by the various

members of your team.

The number you put in the "LIFE" column becomes the default value for

Depreciable Life in the Add Equipment Information Option, 04.01.00.

The "LIFE" value can be edited for each equipment item, but careful

planning here can not only save data entry time, it can provide for

enhanced information management based upon depreciable life values.

Helpful

Hint:  If your accounting department uses asset management classes, you may

wish to use their class codes or develop codes that relate to their

system.  Suppose they have two classes, Major Moveable Equipment and

Fixed Installed Equipment.  Each class may have several depreciation

schedules such as 5, 7, 10, 15 or 25 years.  If you created class

codes:

MME5           Major Moveable Equipment,  5 year life

MME7           Major Moveable Equipment,  7 year life

MME10          Major Moveable Equipment, 10 year life

MME15          Major Moveable Equipment, 15 year life

FIE10          Fixed Installed Equipment, 10 year life

FIE15          Fixed Installed Equipment, 15 year life

FIE25          Fixed Installed Equipment, 25 year life

you would be able to key in the appropriate code as you upload

equipment information.  The correct depreciable life value would

automatically go into the depreciable life field and future sorts on

equipment class by depreciable life value would be possible.  It

never hurts to be a hero with the financial people!

Page 76

Equipment Type Codes  (Option 07.01.02)

Purpose:  Categorize equipment by function, or to group components of a system

together.  Equipment in a TYPE would normally also be in the same

CLASS, but would not have to be.

Set up default preventive maintenance and performance verification

procedures and estimated life values for each equipment type.

Info:     How the type code should be used is almost always the subject of

debate.  The manager of the biomedical equipment function may argue

that the Emergency Care Research Institute (ECRI) group codes should

be used to enable easy identification of equipment involved in hazard

notices or recalls.  The plant operations and maintenance manager

might argue that the type codes should be developed to identify

components of the many installed equipment systems.  With FACILITATE,

both managers' needs can be met because both types of approaches can

be utilized simultaneously.  As long as each code used is unique,

more than one set of type codes can be utilized simultaneously.

FACILITATE has a unique feature that saves you a lot of time and

confusion during program implementation and every time you add an

equipment item to your database.  Three things normally in common to

all equipment items of the same type code are the useful life value,

the preventive maintenance procedures and the steps to verify

equipment performance.  The FACILITATE Equipment Type Codes are set

up to allow you to establish this information.  After entering the

Useful Life Value and the default procedure numbers for preventive

maintenance and performance verification procedures, this information

will automatically appear in the "Add Equipment Information Option

04.01.00 as you add equipment to your inventory.

Useful Life Value

The number you put in the "LIFE" column becomes the default value for

Useful Life in the Add Equipment Information Option, 04.01.00.  The

"LIFE" value can be edited for each equipment item, but careful

planning here can not only save data entry time, it can provide for

enhanced information management based upon the number of years you

actually expect to have the equipment in your inventory as opposed to

the "Depreciable Life Value" that is dictated by financial policy and

the Internal Revenue Service.  This information is essential to pro-

active equipment replacement planning.

Preventive Maintenance and Performance Verification Procedure Numbers

One of the most time consuming steps in the implementation of a

scheduled maintenance program is the development of preventive and

performance verification procedures.  A Scheduled Maintenance Program

consists of both preventive maintenance and performance verification.

We differentiate the two in the following way.

A Preventive Maintenance (PM) Procedure contains action statements

that guide an equipment maintenance technician through a series of

steps designed to avoid future equipment down time and to ensure the

Page 77

equipment operates within acceptable operating ranges.  Most

preventive maintenance procedures also contain performance

verification criteria and a place to document how the equipment

performs against standardized performance criteria.

Performance Verification (PV) Data, on the other hand, contains only

a list of the performance criteria for measuring equipment

performance and indicates the range of acceptable results.

Performance Verification is normally performed at the conclusion of

both Scheduled and Unscheduled Maintenance activity to ensure proper

operation of the equipment prior to returning it to service.  In

FACILITATE, performance data can be developed as a maintenance

procedure and automatically attached to unscheduled work requests to

provide the repair technician with a guideline for post-repair

testing and documentation.

A couple of simple examples would be:

SM Procedure # 1:

Test equipment case for ground loop resistance and electrical leakage

current using electrical safety analyzer.

Standard    Actual   Pass/Fail

Ground Loop Resistance      150mohm      ____        ____

Ground Loop Leakage:

Power On, Normal Polarity    <10 ua      ____        ____

Power On, Reverse Polarity   <10 ua      ____        ____

Power Off, Normal Polarity   <10 ua      ____        ____

Power Off, Reverse Polarity  <10 ua      ____        ____

PV Data # 1:

Standard    Actual   Pass/Fail

Ground Loop Resistance      150mohm      ____        ____

Ground Loop Leakage:

Power On, Normal Polarity    <10 ua      ____        ____

Power On, Reverse Polarity   <10 ua      ____        ____

Power Off, Normal Polarity   <10 ua      ____        ____

Power Off, Reverse Polarity  <10 ua      ____        ____

Page 78

SM Procedure # 2:

Measure air handler speed in revolutions per minute using reed

tachometer.

Standard   Actual  Pass/Fail

Air Handler Speed RPM's      1760 +/- 5   ____       ____

PV Data # 2:

Standard   Actual  Pass/Fail

Air Handler Speed RPM's      1760 +/- 5   ____       ____

As you can see, the "SM" Procedure contains both the preventive and

performance verification information.  The "PV" data contains only

the performance verification information.

In FACILITATE, Preventive Maintenance and Performance Verification

information is combined into one scheduled maintenance procedure and

linked with a maintenance schedule for each equipment item to create

a Scheduled Maintenance Program.  Performance Verification Data is

also developed seperately to provide automatic printing of this data

on Unscheduled Maintenance work requests. By printing the performance

verification criteria on the repair work request, we provide a

guideline for performance testing and a place to document the

results.

To simplify data entry and to obtain maximum system performance,

Preventive Maintenance and Performance Verification Data are

developed as coded entries in Module 07.02.06, Maintenance Task Codes

and Module 07.02.05, Maintenance Procedure Codes.  The preventive

maintenance and performance verification data procedure numbers are

then linked to the equipment type code during entry of each equipment

item in Module 04.01.00.  The default PM and PV numbers are

automatically entered, but they may be changed if a more specific set

of procedures and criteria are available for an equipment item.

When a Scheduled Maintenance (SM) Work Request is generated by the

computer, it prints the Preventive Maintenance (PM) Procedure.  When

an Unscheduled Maintenance (UM) Work Request is printed, the

"problem" information is followed by the Performance Verification

information for that equipment as designated by the procedure numbers

in that equipment record.

Type Code and Maintenance Procedure Numbering Convention

If you don't already have an equipment type code and maintenance

procedure numbering system, there are several things you can do to

automate your system and make it easy to match up equipment to the

appropriate maintenance procedure.  One of the more confusing aspects

of developing a scheduled maintenance program is developing the

procedures, then matching them up to the equipment.  After a program

is implemented, it can often be difficult to keep up with the

Page 79

addition of new equipment to the system if you don't have a simple,

easy to use system.  You may find that you can save some time and

frustration by numbering your procedures with the Equipment Type Code

number and a suffix to indicate that it is "PM" or "PV" data.  Then,

when you enter the Equipment Type Code information, you don't have to

look through a long list of procedures to determine which procedure

goes with each equipment type.  You simply add the "PM" suffix to the

equipment type code for the preventive maintenance procedure and the

suffix "PV" to the equipment type code for the performance

verification number.  When an equipment item is added in Module

04.01.00, FACILITATE will default the proper preventive maintenance

and performance verification information to your equipment.

Preventive Maintenance Procedures designed by equipment type are not

always satisfactory.  If you have procedures developed for a specific

manufacture and model number, you may wish to develop a numbering

convention that ties them to the equipment by manufacturer and model.

This will enable you to easily code your equipment.

Example Equipment Type and Maintenance Procedure Number

Equipment

Type Code:            11134, Defibrillator, Battery Operated

PM Number:            11134PM, Defibrillator, Battery Operated

PV Number:            11134PV, Defibrillator, Battery Operated

How To:   To add, view, edit, print or delete Equipment Type Codes and the

Useful Life, Preventive Maintenance and Performance Verification Data

associated with them, select the appropriate menu option.  Data entry

is accomplished as described at the beginning of this section of the

manual.

Helpful

Hint:  In order to benefit from the automatic default entry of preventive

maintenance and performance verification procedure entry, the

procedures must be identified prior to entry of the Equipment Type

Codes.  We advise that you follow these steps.

1.      Establish a scheduled maintenance task numbering system.

2.      Establish a scheduled maintenance procedure numbering

system.

3.      Establish an equipment type code numbering system.

4.      Enter the maintenance tasks, then procedures, then

equipment type codes.

If you want to begin entering equipment codes prior to the

development of scheduled maintenance procedures, we recommend that

you enter the scheduled maintenance procedure numbers and titles so

you can enter them as the defaults as you enter the equipment type

codes. Then, go back and develop the procedure narrative and attach

the appropriate task statements later.

Page 80

Equipment Status Codes (Option 70.01.03)

Purpose:  Used to indicate the state of readiness of an individual item of

equipment.

Info:     In order to look up equipment based upon its operational status.

CAUTION:  Do not define more Equipment Status Codes than you have

clerical help to keep up with.

Equipment status codes are extremely useful in keeping track of

retired equipment (rather than deleting the item) and equipment

source for leased, rented, or borrowed items.

Equipment Data Type Codes (Option 70.01.04)

Purpose:  Describe equipment item using information common to many items in

your equipment inventory.

Info:     This field is a unique FACILITATE feature.  Equipment Data Type

information may be utility information, an indicator of suitability

for use in specific types of locations or other data you wish to

document.  Since your equipment inventory can be sorted by the

Equipment Data Type Codes and the data assigned to the Data Type,

this field makes it possible to attach any type or number of

categories to each equipment item.  Several codes can be entered for

each equipment item making it possible for you to document a lot

about the item.  Both the DATA TYPE and the DATA TYPE DATA can be

queried and sorted on.  If your hospital administrator wanted you to

keep track of equipment by the color of its case, you could add

Equipment Data Type "Case Color",  and be able to denote the

information in this section!

Helpful

Hint:  Plant Ops Managers, ever wish you knew what equipment is on the

Emergency Power System and how much start and run current it draws?

The following DATATYPE Codes would allow you to capture that

information:

DATATYPE       DATA TYPE Description

EPWR           Equipment on Emergency Power (Y or N)

STARTA         Equipment Start Current in Amps

RUNA           Equipment Run Current in Amps

Biomedical Equipment Managers can use this field to set up codes to

denote safety categories or any other information you wish to

document for the equipment.

ESCAT          Electrical Safety Category

LSD            Life Support Device

Page 81

Manufacturer Codes  (Option 07.02.05)

Purpose:  Identify the manufacturer of equipment and, in some cases, repair

parts and supplies.  The manufacturer's code is used only where the

actual maker of the item is to be identified.

Info:     FACILITATE provides a separate place for manufacture and vendor

information.  This allows the use of one set of codes for the

manufacture and another set for the vendor.  This is particularly

useful if a set if manufacturer's codes like those provided by

Emergency Care Research Institute (ECRI) are used to identify

equipment for the maintaining department, but the purchasing

department has another set of codes they use for the vendors serving

the facility.

You will notice that FACILITATE provides a means to identify the

vendors that supply each manufacturer's products.

Space has been provided for key telephone and toll free numbers at

the local, regional and corporate levels as well as for the national

parts-order and service request numbers.  A place to indicate the

Time Zone of the number is also provided.

How To:   Enter manufacture information exactly like other coded information.

After entering names, addresses and telephone information, hit the

[PgDn] key.  A new input form will appear.  This form allows you to

indicate the vendors, by code, that provide this manufacturer's

products.

Helpful

Hint:  After a vendor code is entered it can be attached to the manufacturer

code file from the Add Option by advancing to the second page and

simply typing in the appropriate code.

Vendor Codes  (Option 07.01.06)

Purpose:  Identify the company that actually sells the equipment, repair parts

or supplies.

Info:     By using the manufacturer and vendor codes, you can identify who

manufactured the item and the company you purchase it from.  Some

manufacturers are also the vendor of the equipment.  For this reason,

manufacturer codes may also appear as a vendor codes.

How to:   Enter the codes directly into the Vendor Codes file from

07.01.06.  Read the instructions under 07.01.05 carefully before

beginning to input vendor code information.

Page 82

Contract Type Codes  (Option 07.01.07)

Purpose:  Reveal general information about a contract.

Info:     May indicate the type of service provided, the hours of coverage or

other information you what to code.  When a work order is printed,

the contract type description is printed for the technician to see.

Page 83

Work Order Codes (Option 07.02.00)

Work Order Type Codes  (Option 70.02.01)

Purpose:  Differentiate groups of work orders for ease of work order control

and report generation.

Info:     Scheduled and Unscheduled maintenance are the two most obvious

categories, but careful consideration of your work patterns and the

way you are asked to report your department's activities may suggest

other useful work order types.

Two maintenance codes are mandatory and must be used.  They are:

Code           Code Description (User editable)

UM             Unscheduled Maintenance

SM             Scheduled Maintenance

Helpful

Hint:  Be careful not to create categories that would require extra data

entry to generate information that no one will ever look at.

Work Order Status Codes  (Option 70.02.02)

Info:     In order for the software to appropriately handle error checking

three mandatory codes have been assigned.  They CANNOT be changed.

They are:

Code           Description

OP            Open

CD            Closed

PD            Posted

Work Order Completion Codes  (Option 70.02.03)

Purpose:  Standardize documentation of actions taken to satisfy a work request

and the results.  Summaries of your work order activities can be

obtained by sorting on this field for specific employees, user

departments and so on.

Another name for Work Order Completion Codes could be "Action Taken

Codes".

Page 84

Work Order Priority Codes  (Option 70.02.04)

Purpose:  Standardize entry of response priority on each work order.  By

entering the code on the work order, the meaning of that priority,

the due date and time is automatically calculated and is printed on

the work order .

Info:     Priorities are normally used to denote sense of urgency on

unscheduled repairs, but for scheduled maintenance they usually

indicate which work orders take precedence over others.

How To:   In addition to codes and code descriptions, enter the amount of time

in days, hours and minutes that are allowed to complete jobs with

each priority.

Maintenance Procedure Codes  (Option 70.01.05)

Purpose:  Provide standardized scheduled maintenance procedures for equipment.

Info:     Scheduled Maintenance Procedures consist of four parts:

1.     Procedure Name

2.     Procedure Narrative

3.     Scheduled Maintenance Tasks

4.     Standard Time for Completion

Prerequisites to Data Entry:

Prior to entry of Scheduled Maintenance Procedures, Scheduled

Maintenance Tasks must be entered into Module 70, Option 70.01.06.

How To:   To add, view, edit or print Scheduled Maintenance Procedures, select

the appropriate option from the menu.

1.     To add Scheduled Maintenance Codes, select the ADD option and

strike the [ENTER] key.

a.      Enter the Scheduled Maintenance Procedure Number.

b.      Enter the Procedure Title/Description.

c.      Enter the Procedure Narrative.  This may include

information about test equipment required to accomplish the

procedure, parts/materials required or any information that

will assist the technician doing the job.

NOTE:  To better understand the Procedure Narrative area,

think of it as one line of information 600 characters in

length.  Word wrap is not used, so it appears that words

are broken between lines.  Word wrap and breaks between

words occur during the printing of the information.

d.      Enter the Task Code Number(s) to build the Procedure.

Page 85

e.      Use the [ENTER] key to move through all eight possible task

code entry fields to arrive at the Est Hrs field.  If you

use the [ESC] key prior to arriving at the Est Hrs field,

you will not be able to enter the standard time and your

procedure will not be saved correctly.

f.      Enter the Standard Completion Time for accomplishing the

Scheduled Maintenance Procedure.

2.     To Edit existing Scheduled Maintenance Procedure Information,

select EDIT from the menu and strike the [ENTER] key.

a.      Move through the Edit screen just as in the Add Screen.

b.      To add a task to the procedure while in the Edit option,

1)  Strike the [ESC] key to bring up the menu,

2)  Move the cursor over ADD NEW and strike the [ENTER]

key.  This will duplicate the last row of information

the cursor was on to a new task statement area and

position the cursor on the new row.

3)  Edit the new row of information.

c.      To delete a row of information,

1)  Using the Edit mode, position the cursor on the row of

information to be deleted.

2)  Strike the [ESC] key to bring up the menu.

3)  Select DELETE and strike the [ENTER] key to delete the

row that was highlighted.

Maintenance Task Codes  (Option 70.01.06)

Purpose:  Standardize scheduled maintenance task statements to be used in the

development of scheduled maintenance procedures.

Info:     The use of task codes and statements makes it possible to build

maintenance procedures without having to retype all the task

statements.  It also helps preserve space on the computer hard disk.

Helpful

Hint:  Task statements are action statements.  They should always begin with

action words such as Adjust, Clean, Calibrate and Measure.  It will

be least confusing if each statement contains only one action.  If a

statement contains more than one action, it makes it more difficult

to find the statement you need while building procedures.  It can

also cause technical errors because the second action can be easily

overlooked by the technician performing the task.

Page 86

How To:   To add, view, edit or print Scheduled Maintenance Tasks, select the

appropriate option from the menu.

1.   To add Scheduled Maintenance Tasks, select the ADD option and

strike the [ENTER] key.

a.      Enter the Scheduled Maintenance Task Number.

b.      Enter the Task Description.

c.      Enter the Tasks Narrative.  This is a concise action

statement describing what is to be performed by the

technician.

NOTE:  To better understand the Task Description area,

think of it as one line of information 600 characters in

length.  Word wrap is not used, so it appears that words

are broken between lines.  Word wrap and breaks between

words occur during the printing of the information.

Page 87

General Codes Menu  (Option 07.03.00)

Account Codes  (Option 07.03.01)

Purpose:  Standardize identification of each account and sub-account in your

facility for work order, purchase order and expenditure accounting

and reporting.

Info:     Enter the account numbers and descriptions for the accounts you serve

as well as the account numbers you will want to account for within

your own department.

Helpful

Hint:  We recommend utilizing the same account codes that are used by your

business and finance department.  These are normally available on a

"chart of accounts" report published by them.  The description of the

account codes may be customized to meet the specific needs of your

department and the people you may be sending reports to.  By using

the "chart of accounts" codes, you will not have to translate data on

your reports.

Location Codes  (Option 07.03.02)

Purpose:  Standardize entry of facility location and material inventory

location data to enable accurate report sorting and screen view look-

ups by location.

Info:     Location codes and their associated descriptions are used in Module

04 Equipment Management and Module 01 Work Order Information.

Helpful

Hint:  If your facility has a standardized room numbering system, you might

consider using that system for identifying the location of equipment.

To establish a uniform system for identifying the storage location of

parts and supplies, you might use the system designed for use by

material control departments.  By using the same coding system

utilized by the "space utilization" and "material control" people in

your facility, it will enable you to generate reports with location

codes and descriptions that will be meaningful throughout your

facility.

Page 88

Employee Codes  (Option 07.03.03)

Purpose:  Connect employee information to other records in the database.

Info:     Employee codes are used in FACILITATE to assign work orders to

specific people, to document each employee's time and to maintain

payroll records.  As you determine what coding strategy to use, you

should consider using something that employees are familiar with and

will easily connect employee records developed in FACILITATE with

other facility records, such as payroll.

Helpful

Hint:  The last three digits of the employee's Social Security

Account Number make a good employee code.  The use of Name

Initials usually ends up in confusion because of duplicates and the

need to make exceptions to the rule.  A segment of the Social

Security or other number is not as likely to create duplicates.

Position Codes  (Option 07.03.04)

Purpose:  Identify each employee by their position number or other code.

Info:     If your facility does not utilize position codes, create a code for

each position in your department.  Position codes are not synonymous

with employee codes.  The use of position codes in the scheduled

maintenance set-up allows you to direct scheduled maintenance work

orders to a specific position, such as the Senior Plumber or Senior

Biomedical Equipment Technician.  If the employee assigned to a

specific position changes, the scheduled maintenance work order can

be directed to the new employee without making any changes in the

work order set-up.

Service Group Codes  (Option 07.03.05)

Purpose:  Grouping of people by trade and craft, sub-department or other

functional grouping.

Info:     Service Group Codes are used to sort scheduled maintenance work

orders, open work order reports and other management reports.  How

you choose to group your employees will depend upon how your facility

is organized and how you are asked to report your performance to

higher authority.

Page 89

System Maintenance Module (08.00.00)

The System Maintenance Module provides screens for initial set-up

and on-going maintenance of the FACILITATE program and your

database.

Set Passwords  (Option 08.01.00)

Purpose:       Provide user identification and security levels based

upon need for access to the various FACILITATE modules.

Info:          The need for tight security of the data in your

FACILITATE system can not be overemphasized.

Unauthorized entry into your database can cost you in

several ways.  In this age of computer data "hackers"

and "vandals" who put "viruses" on computer systems,

the need for tight security warrants a great deal of

effort.  Network users who have modem access to their

system need to be especially cautious.  Development of

a strategy for the assignment of user names, passwords

and access rights to the system will help ensure the

integrity of your data.

A.      User Names

A lot of confusion can be avoided if a "User Name

Convention" is established prior to entry of user

names and passwords into FACILITATE.  Random

selection of user names causes confusion for the

user and the System Supervisor.  If FACILITATE is

to be used on a network, you may wish to use the

same user names used to access the network.  We

have found that a "UserName" consisting of the

First Initial of the First Name and the First

Seven Letters of the Last Name makes it easy to

manage.  For example,

Harry Herrmann's user name would be HHERRMAN

Al Kuntz' user name would be AKUNTZ

B.      Passwords

Passwords should be randomly selected by each user

for their own use.  They should be something the

user can remember, but should not be something

readily tied to the user.  For instance, the last

four digits of the social security number or the

numbers in a street address can easily be tied to

the user by a person not authorized to use the

system.  Passwords should never be shared with

anyone and departmental policy should establish

appropriate disciplinary action for employees who

Page 90

fail to keep their password confidential.

C.      Assigning Access Rights

The FACILITATE program is divided into four areas.

The FACILITATE System Supervisor assigns access

rights for each of the areas to each system user.

1.     System Access

A "Y" in the System Access Area provides

unlimited rights to all capabilities of the

Database Management System, including the

right to edit all data and modify the database

structure.

2.     Codes Access

Codes Information includes all the codes

entered into Module 07.  It is recommended

that access to the Codes Module be limited to

those users with the responsibility for

developing and establishing the codes for

your facility/department(s).

3.     Employee Payroll Files

Employee Payroll Files contain the pay rate

and historical pay records for an employee.

Access to this data should be limited to

avoid the problems associated with people

looking at other employee's payroll data.

4.     Work Order and Equipment Files

Work Order and Equipment Files contain all

the data entered in Modules 01 through 06.

Access rights to these operational areas of

the database are automatically granted when

the username is created.

How To:        Users and Security Information can be added, changed or

deleted from this menu.  Select from the following

options:

(1)     Add Users To System

Enter new user's name, password and security data.

After entry of data, be patient while the system

sets all the security keys for the new user.

Page 91

(2)     View User Information

Use this screen to view data you do not wish to

change.  Because no data is changed, you will not

have to wait for the computer to reset security

keys in the database when you escape the screen.

(3)     Delete a User

Use this screen to delete a user from the system.

Helpful

Hint:          Adding or changes Users and User information requires

the manipulation of security "keys" throughout the

database.  After adding or changing user information,

the computer displays the message "Updating Security

Information - Please Wait".  It may take several

seconds for the system to update all the information,

so don't get impatient!

Page 92

Set Global Information  (Option 08.02.00)

Purpose:       Set information printed globally on reports (Name of

Facility and Name of Department) and to set the work

order number counter.

Info:          The Set Global Information option allows you to specify

the way you want your facility and department names to

appear on report headings.

How to:        Edit Facility Information

a.     Enter the Name of Your Facility as you want

it to appear on printed reports.

b.     Enter the Name of Your Department as you want

it to appear on printed reports.  If you have

more than one department using FACILITATE,

you may wish to use a name that identifies

all departments.  Service Groups are

identified on reports by the entries made in

the Codes Module, 07.03.05.

c.     Enter the number of the next work order to be

issued.  Work order numbering within

FACILITATE is sequential, numeric only.  When

you are ready to start using the  FACILITATE

Module 01, Work Order Management, you can pick

up where your present system leaves off by

entering the next work order to be used here.

d.     The FACILITATE Software Version Number is

displayed, but is not editable.  Please refer

to this number whenever corresponding with

Facilitate, Inc. about your FACILITATE

software system.

Page 93

Post Work Order Transactions (Option 08.03.00)

Purpose:    Transfer cost and history information for the work order to the

Equipment History Record, if the work order is identified with a

valid equipment number.

Prerequisite:

Only closed work orders can be posted.

Info:       Posting of work order information allows deletion of the work order

without loss of the labor and cost data. The status of all closed

work orders (work order status = CD) with a close date on or before

the date specified are posted.  Once posted, work orders can not be

altered.

How To:     To post work orders, select option 08.03.00 and enter the work

order close date thru which to post.

Page 94

Purge Old Transactions  (Option 08.04.00)

Purpose:       Eliminate transaction data that has been posted to all

required database history sections and is no longer

needed in its original format.

Info:          This procedure deletes all POSTED transactions which

meet the purge criteria defined in the Transaction

Purge Cycle Length Table, Option 08.04.02.

Transactions are purged only if they are POSTED and the

CLOSING DATE of the transaction is older than the

current date minus the number of days in the purge

cycle for that particular type of transaction.  By

setting up the purge cycle for each type of

transaction, systematic purges can be accomplished to

keep your database to a manageable size without purging

data that you need in the routine management of your

area of responsibility.

WARNING:       To reduce the risk of losing data, BACK UP YOUR

FACILITATE DATABASE PRIOR TO RUNNING THE PURGE

PROCEDURE.

How To:        To set up the Transaction Purge Length Table, select

Option (2).  To Purge old transactions in accordance

with the Transaction Purge Table Length set-up, select

Option (1).

(1)     Purge Old Transactions

Upon selecting this option, you are given:

a.     A reminder of the Transaction Purge Procedure

b.     The Current System Date

c.     The Cycle Days and Purge Thru Dates for each

type of transaction.

If you wish to purge the data for all transaction

types through the dates shown, answer (Y)es to the

prompt.  If not, answer (N)o and strike the

[ENTER] key to return to the menu.  If you have

not backed up your data, answer (N)o and back up

your database prior to running the Purge

Procedure.

WARNING:               The computer uses the current system date to

calculate the date to which transaction purging

will occur.  Never initiate the purge process

without verifying the system date.  If your

computer is set to January 1, 2990 and your purge

cycle length is set to 396, all the transactions

with the current status POSTED will be purged!

Page 95

(2)     Edit Transaction Purge Cycle Length

a.     Select EDIT from the menu and strike the

[ENTER] key.

b.     Enter the number of days prior to the system

date that you wish to purge up to for the

information associated with each type of

data.

FACILITATE is designed to retain a large

amount of data for ready access.  Once

transactions are purged, the transaction

numbers and the temporary data, such as

comments on a work order are no longer

available.

Helpful        FACILITATE is shipped to you with a Purge Days setting

Hint:        of 396.  This means that when you run a purge, the

transactions with the current status of POSTED that

were closed more than 396 days prior to the current

computer system date will be purged.  396 days

represents approximately thirteen (13) months of data.

If you wish to retain more or less than thirteen months

of transaction data in your system, edit the

Transaction Purge Days to meet your needs.

Page 96

Database Maintenance (Option 08.05.00)

Purpose:       Recover unused disk space that has resulted from the

purging of transactions and the removal of records from

the database.  Rebuild the database "keys" (indexes) for

faster data retreival.

Info:          Whenever data is removed from the computer hard disk,

small "holes" of unused disk space result.

The benefit of packing the database is increased

database performance, particularly when searches of

large amounts of data are accomplished.

The PACK DATABASE function does

not require much free space on the disk to execute

the command.  PACK DATABASE rearranges the data on

the hard disk and eliminates the "holes".  The

risk is that if the process is interrupted for any

reason the database can be corrupted and be

unusable.  For this reason, a backup copy of the

database should always be made before using this

feature.

WARNING:       Backup your database before doing this!

How To:        The FACILITATE database should be PACKED

frequently.  Depending upon the volume of use, you may

choose to run this program feature every week or every

few days.

The first step to a database PACK is always a backup

copy of the database.  The FACILITATE database is

backed up using DOS BACKUP, Novell LARCHIVE commands or

the software provided with your tape drive.  To recover

unused disk space, select:

08.05.00  Database Maintenance

a.     If you haven't done so already, exit and make

a BACKUP COPY of the Database, then proceed.

b.     Read the Database PACK Procedure carefully.

c.     If you have backed up your database and are

ready to proceed with the PACK, answer "Y" to

the prompt and strike the [ENTER] key.  The

PACK process will take several minutes to

process.

d.     If you are not ready to proceed with the

PACK, answer "N" to the prompt and strike the

[ENTER] key to return to the menu.

Page 97

----------------end-of-author's-documentation---------------

Software Library Information:

This disk copy provided as a service of

The Public (Software) Library

We are not the authors of this program, nor are we associated

with the author in any way other than as a distributor of the

program in accordance with the author's terms of distribution.

Please direct shareware payments and specific questions about

this program to the author of the program, whose name appears

elsewhere in  this documentation. If you have trouble getting

in touch with the author,  we will do whatever we can to help

you with your questions. All programs have been tested and do

run.  To report problems,  please use the form that is in the

file PROBLEM.DOC on many of our disks or in other written for-

mat with screen printouts, if possible.  The P(s)L cannot de-

bug programs over the telephone.

Disks in the P(s)L are updated monthly, so if you did not get

this disk  directly from the P(s)L,  you should be aware that

the files in this set may no  longer be the current versions.

For a copy of the latest monthly software library newsletter

and a list of the 2,000+ disks in the library, call or write

The Public (Software) Library

P.O.Box 35705

Houston, TX 77235-5705

(713) 524-6394