********************************

FIREWOOD FOR YOUR FIREPLACE

********************************

--------------------------------

SELECTION, PURCHASE, and USE

-------------------------------

Where can I get good firewood? How is it sold?  What safety measures

should be followed when burning firewood?  Is the fireplace efficient

for home heating?

These are just a few of the questions that need answering for the many

people who plan to make greater use of the home fireplace.

A fireplace supplies radiant energy that can bring quick comfort to a

cold room.  In spring and fall, a fire will dispel early morning and

evening chills more economically than a large heating system, since less

fuel is consumed and a large volume of heat is quickly produced. Should

storms of power failures interrupt the normally reliable means of

heating and cooking, it is reassuring to have a fireplace for emergency

use.

A fireplace, however, is not an efficient means of producing heat for

the home.  An open fireplace draws large quantities of warm air from the

home, which is replaced by cold outside air. Modern woodburning stoves

that are airtight and have automatic draft controls are more efficient

since they draw smaller quantities of air.  Many kinds of these are

widely available.

--------------------------------

Using Wood In Your Fireplace

--------------------------------

Some fuels are pollution and health hazards, but wood is much lower in

irritating pollutants than most fuels.

Wood has a low ash content. It burns cleanly, leaving only a minimum

of waste as ash, the ash that remains can be useful for gardening,

applied to the soil, it's a valuable fertilizer.

In using wood, you are utilizing a renewable fuel resource.  Coals,

oil, and gas are limited resources.  Once used, they cannot be replaced.

But new trees can be grown, so that after a few years, more wood is

available.  Wood has the advantage of being readily available, easily

cut, and relatively inexpensive. Trees and other green plants are our

most efficient means of capturing the sun's energy. Fossil fuels, by

contrast, require expensive equipment, and increasing amounts of

manpower and energy, to locate, extract, and process.

The wood that you use in your fireplace might very well be unusable in

any other way.  By burning it in your fireplace, you can help reduce the

burdensome piles of wood waste riddling our environment in woodlands,

urban dumps, and around wood industries. Reclaiming it for firewood

provides a worthwhile environmental alternative.

Generally speaking, a standard cord of air dry dense hardwood weighs

approximately 2 tons and provides as much heat as 1 ton of coal, or 150

to 175 gallons of No.  2 fuel oil, or 24,000 cubic feet of natural gas.

--------------------------------

Where To Get Firewood

--------------------------------

You can get wood fuel from trees, growing in the woods, that are

considered undesirable. This includes trees that are poorly formed,

diseased, of little-use, or weed species--like pin cherry--and

genetically inferior individuals.  All such trees pose problems for the

forest manager.  They occupy valuable growing space, which thrifty young

trees might well use for continuing development.  When diseased, these

trees pose a hazard to nearby healthy trees. If genetically inferior,

they may contintue to reproduce and could keep the forest area full of

poor-quality trees for generations to come.  Weeding them out often

costs more than can be returned from their sale. But fuelwood markets

may make this forest-improvement measure economical.

Contact your local State forestry office for assistance in identifying

less thrifty trees that should be removed. Be sure to get permission to

cut or remove trees from property other than your own.

Logs of elm trees killed by Dutch elm disease can be burned as

firewood. These elm logs should be used the first winter or before the

spring following the tree's death.  This prevents the disease-carrying

beetles from emerging and infecting healthy elms.  If you can't burn all

the dead elm wood before spring, you should remove and burn the bark so

that the larvae and eggs beneath this bark are destroyed.

You can also get fireplace wood from dumps and landfills, but be sure

you have the approval of the landfill authority.  Since many local

ordinances forbid open burning, the quantity of dead, discarded trees

keeps mounting unnecessarily on these lands which are sorely needed for

the disposal of other solid wastes. As much as 30 percent of the debris

in some town and city landfills consists of reusable wood fibers,

including the logs, limbs and tops of trees toppled by storms.

Fireplace wood is also available as industrial wood scraps.  Sawmills

accumulate scrap materials such as slabs, trim, and edgings in their

millyards. Lumber companies often offer these materials as firewood at

minimal cost, since this use will alleviate hauling and burning problems

for them. Power companies might also offer the logs, limbs, and tree

tops that result from their powerline maintenance efforts.

Firewood may be available from the National Forests.  Check with your

nearest Forest Service District Ranger for more detailed information.

State Foresters, county Extension Agents, and county and city foresters,

can also provide information on local sources of firewood.

--------------------------------

How To Buy Firewood

--------------------------------

The most common measure of firewood volume is the cord.  A standard

cord can be described as a well-stacked pile of logs, 4 by 4 by 8 feet.

Since few people burn wood in 4 or 8 foot lengths, most sales are a

"face cord" or a "tier"--that is, a 4 by 8 foot face, cut into desired

lengths.  A "face cord" of 16-inch-long pieces is really one third of a

standard cord.

To determine the volume of firewood in cords, the wood must be first

properly stacked. Then, measure the dimensions of the stack in feet.

Multiply the width by the height by the length to obtain the total cubic

feet.  Then divide this figure by 128, which is the number of cubic feet

of wood in a standard cord. For example, if you purchase firewood in 16-

inch (1.33-foot) lengths and find that after you stack it tightly, if

forms a pile 4 feet high and 8 feet long, you have one-third of a cord:

1.33 x 4 x 8 feet = 42.6 cubic feet;  this, divided by 128 = .333 cord.

In some parts of the country firewood is more commonly sold by the

ton.  A ton of air-dry dense hardwoods (such as oak, hickory, maple) is

equal to approximately one-half of a cord.  If you buy your wood by

weight instead of volume, look for the driest wood.  Don't pay for extra

water.

Logs are sold in different lengths and thicknesses.  The sizes you buy

should depend on the size of your fireplace and the amount of time you

want to take to get your fire going. Purchase logs that will fit when

laid across your grate. Logs too large to burn readily may be split.

Short lengths are generally easier to split than longer logs; straight-

grained knot-free wood is easier than crooked grain.  Green or wet wood

splits more readily than seasoned wood, and softwoods usually split more

readily than hardwoods.  Elm, blackgum, and sycamore are so difficult to

split that they are rarely used as kindling.  When kindling is needed,

short lengths of straight-grained cottonwood, aspen, fir, and pine will

split readily and prove most satisfactory.  Small twigs and branches

found in your yard, and wood wastes found around sawmills are also good

as they often do not have to be split and dried.  When you buy wood,

request a mixture of wood species and diameter sizes. Although the wood

should be generally sound, don't worry about small pockets of rotten

wood you may find in the logs.

Most wood species will not burn if freshly cut, so the wood you

purchase should be reasonably dry, or "seasoned." The surest way of

having dry wood is to purchase it several months prior to using it.

Splitting logs hastens drying. Split logs or small round logs should be

stacked outside under a roof for 6 to 10 months before burning.

--------------------------------

Best Wood For Burning

--------------------------------

Choosing a kind of firewood to burn in your fireplace is much like

selecting a favorite wine or cheese, since each wood species can offer

something different in aroma or heat value.  The fuelwood connoisseur

will want to choose his wood carefully and weigh his needs and tastes

before building his fire.

Softwoods, like pine, spruce, and fir, are easy to ignite because they

are resinous.  They burn rapidly with a hot flame, However, since a fire

built entirely of softwoods burns out quickly, it requires frequent

attention and replenishment. This characteristics of softwoods can be a

boon if you want a quick warming fire or a short fire that will burn out

before you to to bed or before you step out for the evening.

For a longer lasting fire, add the heavier hardwoods such as ash,

beech, birch, maple, and oak.  These dense species burn less vigorously

than softwoods and with a shorter flame.  Oak gives the most uniform and

shortest flames and produces steady, glowing coals. When you have

several oak logs burning in your grate, you can settle back for a steady

glow.

Aroma comes from the woods of fruit trees, such as apple and cherry,

and from nut trees, such as beech, hickory, and pecan. Their smoke

generally resembles the fragrance of the tree's fruit.  Woods from fruit

and nut trees often sell for more per cord than woods with greater

heating values, but woods from fruit and nut trees are steady producers

of flame.

By mixing softwoods with hardwoods you can achieve an easily-ignited

and long-lasting fire.  Later, by adding some fruit or nut woods, you

will capture the nostalgic wood smoke aroma as well.

The heat that a fireplace log produces depends on the concentration of

woody material, resin, water, and ash.  Since woods are different

compositions, they ignite at different temperatures and give off

different heat values; therefore, it is beneficial to mix light and

heavy woods to achieve the ideal fire.

--------------------------------

How To Build A Better Fire

--------------------------------

There are many ways to build a fire.  The basic principle is to set a

match to easily ignitable tinder, which in turn ignites the kindling,

which in turn ignites the larger firewood. The following method has

proved highly successful. Place two logs on the iron grate or fire

basket and lay the tinder between them. Dry scrap paper may be more

readily available than the classical tinders such as hemlock twigs and

cedar or birch bark.  Next, place above this a small handfull of dry

twigs or split softwood kindling.  Then place small, dry logs over this

base.  A tepee formation of kindling and small branch wood will ease

your fire through early combustion stages until the logs are aglow.

Place these logs close.  The narrow air spaces between them promote

better drafts.  The heat reflected between adjacent surfaces aids in

raising and maintaining combustion temperatures.

Generally, no more than four logs are needed to make a good fire.

Adjust the logs and maintain the flames by pushing the ends into the

flame from time to time.  Add kindling and new logs as needed to

rekindle a dying glow.  Rake coals toward the front of the grate before

adding new logs.  Add new logs at the rear of the fireplace; there they

will reflect light and heat into the room.

Ashes should not be left to accumulate closer than an inch or two from

the bottom of the grate.  A greater accumulation can ruin andirons and

block the flow of air to the fire.  The ashes under the grate are

important for they form a bed for the glowing coals that drop through

the grate.  They concentrate heat and direct drafts of air up to the

base of the fire.  A flaming fire can be checked by covering burning

logs with excess ashes.  A fire "banked" with ashes in this way will

hold glowing coals for 8 to 10 hours, making it easier to rekindle the

flames.

--------------------------------

How To Build A Safe Fire

--------------------------------

Make sure the room is well ventilated, the damper open, and the flue

unobstructed before lighting your fire.  Poor ventilation will cause the

fireplace to smoke.  Avoid burning wet or green wood. Place a screen in

front of your grate to catch any sparks that fly.  Keep a fire

extinguisher handy.  Keep other combustibles at a distance. Never use

flammable liquids indoors to light your fire.

Dry wood when burned with abundant oxygen produces carbon dioxide,

water, and a small amount of residual ash--all of which are easily

recycled by green plants.  Burning green or wet or highly resinous wood

results in increased production of wood tars and several associated

"smoke" products. These tars and the wood extracts may coat the chimney

flue and could cause a chimney fire if ignited.

Some modern homes, especially those with electric heating, are

constructed so air-tight that an air vent may have to be installed, or a

window opened slightly.  When wood or charcoal is burned without

sufficient oxygen, some carbon monoxide will be released.

Glass fireplace doors offer draft control and a possible means of

further reducing the amount of smoke that escapes into the room.  If,

however, the chief reason for poor fireplace performance is faulty

construction, the only safe solution is proper rebuilding.

Softwoods produce a brief, vigorous fire without a bed of long-lasting

coals. Within a short time, when any unburned fuels have been pushed to

the rear of the grate, and when the fireplace opening is covered with a

fine mesh screen, a softwood fire can be presumed safe enough to leave

unattended.

Some resinous woods are best used as stove woods or only with caution

in the fireplace, Hemlock, larch, spruce and juniper all contain

moisture pockets in the wood.  Upon heating, trapped gases and water

vapor build pressure in these pockets and "pop" with great vigor. This

is another reason for reducing moisture content as much as possible

before burning any firewood.

With the proper size and kinds of firewood and a little practice at

laying up the fire, you can enjoy the warmth and beauty of your

fireplace all winter long. Sit back and relax, "while the blazing logs

bring back the glow of summer suns of long ago."

**********************************

LOW COST, NO COST ENERGY SAVERS

**********************************

Many of you have read or received information about the enery crisis.

All of you have experienced the results of this complex problem - a

large increase in the cost of the energy you use.  That comes out of

your pocket.

Expensive energy-saving suggestions have been getting most of the

publicity for the past several years.  You may have measures that offer

the greatest return for the least effort and expense.

And, we might add, they won't leave you sweltering, freezing, or

groping in the dark.

By following all the suggestions, or whichever ones apply to you, we

think you can save 25 percent of your fuel oil, gas and electricity

bills. At current enery prices, these suggestions will put from $100 to

$500 a year back into your pocket in a typical home.

The best low-cost actions often get lost in lists of less- lucrative

tips. That's why we have pulled out some of the best ideas and have

given them special billing.  About half of these ideas can be carried

out for free.  And all of them can be accomplished on an investment of

$100 or less, some of which can be paid back through the 15% Residential

Energy Tax Credit.

Even if you are planning to insulate, add storm windows, or make other

major energy-saving purchases, we think you should do the following

suggested pieces of advice.  They are cost effective.  They offer quick

paybacks, and in some cases, they will increase the savings you get when

you install insulation later.

So go to it.  You can't lose on these simple efforts, and you may be

pleasantly surprised at the results.

Due to higher fuel costs this year, your energy bill will probably go

up - however, if you follow low-cost/no-cost you bill could be reduced by

25%. "Savings" tips are based on costs of 5 cents per kwh for

electricty, 37 cents per therm for gas, and 80 cents per gallon for oil.

If your costs are higher your savings will be too.

--------------------------------------------------------------

How To Keep Your Shower From Cleaning Out Your Bank Account

--------------------------------------------------------------

Let's say that your family has a standard showerhead that releases

from 5 to 6 gallons per minute.  If two members of the family take a

five-minute shower every day, that's 50-60 gallons of water cascading

down the drain.  Roughly 40 percent of that water is hot.  At this rate,

your family will use 7,000 to 8,500 pounds of hot water every year at

this showerhead alone.  That will cost you $75 - $100 annually if your

water heater is electric, and $30 - $40 if your water heater is gas.

You can get back a hefty chunk of that money, without taking colder or

shorter showers, by installing a flow controller. The flow controller is

inserted between the showerhead and the shower arm.  It reduces the flow

of water down to 3 gallons per minute, while the shower continues to

give off a good spray.  You can enjoy a comfortable shower, and still

wind up saving 1 gallon of hot water per minute, or up to 4,000 gallons

of hot water a year. That's a saving of $40 a year for electric water

heaters and $15 a year for gas water heaters.  Either way, it's a decent

return for less than $1 and a few minutes' effort.

Most showerheads screw right onto the arm or pipe that extends out

from the wall.  They can be removed with a wrench. You might want to put

a cloth around the area where the wrench is applied, so that the

showerhead or shower arm is not damaged or scarred with the wrench. The

showerhead should come off easily. If it doesn't, don't force it,

because too much pressure might twist, pinch, or break the shower arm.

Once the showerhead is removed, the flow controller is inserted into

the showerhead, large end first.  Push or screw it in as far as it will

go.  The showerhead is then put back on the shower arm until it fits

snugly and tightly. If the joint leaks, try a little pipe joint compound

on the threads.

On some ball-type installations, the showerhead is not removable from

the shower arm, and flow controllers cannot be easily installed.

To put the water controller device on kitchen faucets, you start by

unscrewing the aerator at the end of the spigot.  The controller is then

pushed into the spigot pipe, small end first.  If you do not have an

aerator on the end of your spigot, it may take a plumber to do this job.

Since calling a plumber just for this purpose will be too expensive, you

can wait until you need the plumber for some other reason and then ask

him to put in the controller.

--------------------------------

How Low Can You Go?

--------------------------------

If the thermostat on your water heater is set between 140 degrees and

160 degrees, you can reduce the setting down to 110 degrees - 120

degrees and save at least $20 a year for electric water heaters and $10

a year for gas, If this change in thermostat setting produces spotty

dishes in the automatic dishwasher, or if there isn't enough hot water

for all the household needs, you can always turn the dials back up a

little. The lower the settings you can accept, the more money you will

save.

Anybody with a screwdriver and five minutes to spare can reset the

water heater thermostat.  At the front of most water heaters there are

one or two plates held on by screws.  TURN OFF THE CIRCUIT BREAKER (if

you have an electric water heater) and then remove the plates.  Push

back the insulation and you will see the thermostat.  It will either

have numerical settings or simply the designations "high," "medium," or

"low."  Reset the thermostat to 120 degrees or "low."  After replacing

the insulation, and reinstalling the metal plates, turn the circuit

breaker to its "on" position.

There is a myth that lowering the temperature of hot water only causes

people to use more of it, and therefore, that nothing is saved.  The

fact is, dialing down the thermostat saves money in two important ways.

It reduces the amount of costly hot water that is used in appliances

like dishwashers. And it keeps some of the heat from escaping through

the walls of the water heater tank.  These heat losses can be expensive.

-------------------------------------

Cutting The Losses Off At The Tank

-------------------------------------

Another way to save money is to add an extra layer of insulation

around the outside of the water tank to cut heat loss. This effort is

estimated to save $20 a year for electric water heaters, and about $10 a

year for gas.  You can purchase enough foil-backed insulation and tape

to do this job for less than $5. If you buy a roll of insulation, you

can use the rest of it to finish the other low-cost measures described

in this database.

For this project, you need enough insulation to completely encircle

the tank and also to cover the top.  The standard 3 1/2 inch insulation

is adequate for the job, though you may have to squeeze it a little to

fit between the tank and any adjacent wall.

The insulation goes around the tank like gift-wrapping a package - the

shiny foil on the outside.

If it takes two widths of insulation to cover the tank, seal the

horizontal seam with duct tape.  Also seal the vertical seams where one

end of the piece of insulation joins the other.  A circle can be cut for

the top and attached to the insulation on the sides of the tank with

tape.

The main point is to cover all exposed surfaces of the tank, except

for certain critical areas that must be left free to "breathe."  On

electric water heaters, it is best not to cover the drain faucet, the

thermostat access panel, or the relief valve that comes out of the top

of the tanks.  On gas water heaters, a crucial warning must be heeded:

do not cover air inlets, pipes, controls, relief valves, or the flue at

the top of the heater.  If you are unsure about the various crucial

openings on gas and oil water heaters, you can buy a manufactured

insulation jacket kit with holes precut for the critical areas.  It is

also important that the insulation be affixed to the tank so that it

can't slip down and cover the openings later.  A mistake here could

cause a fire or even an explosion.

--------------------------------

Cooling The Wash

--------------------------------

A switch to a lower temperature on the washing machine can have a

major impact on utility bills.  It takes about 35 gallons of water to do

a full wash and rinse, or about 17 gallons for each cycle.  How much of

that water is hot depends on which button you push.  A hot wash and warm

rinse combination, the highest setting on most machines, requires 25

gallons of hot water.  A load a day on such a setting, for electric

water heaters, could easily cost $100 a year. Changing the rinse water

to cold, which experts say does not affect the result of the wash, will

save 8 of those gallons per day, or $25 a year.  By changing the wash

setting from hot to warm, you could save another $25.  If you have a gas

water heater, the savings would be $10 a year for each strategy.

To increase the savings even further, use a cold water detergent, and

wash and rinse with cold water.  You may be well satisfied with the

cleaning results.

--------------------------------

Escape Up The Chimney

--------------------------------

It is not unusual to find a gap of an inch or wider in a leak when the

fireplace is not in use, but the furnace is turned on.  The gap can also

be costly when the air conditioner is operating.  It is a bad place to

have a leak, because the chimney itself encourages a strong flow of air.

One way to stop the leak is to stuff the gap with insulation, or, if

it is too large to insulate, to cover it with a board.  The stuffing or

covering obviously must be removed before the fireplace is used. In a

cold climate, you can plug the damper and save $45 a year with electric

resistance heat, $20 with gas heat, and $30 with oil heat, depending on

where you set the thermostat and the size of the gap.

---------------------------------------------------

Holes In The Attic Are Like Holes In Your Pocket

---------------------------------------------------

Step into your attic some winter night.  Even if it is insulated at

floor level, you may be surprised to find the attic is much warmer than

the outside air.  That means that some of the expensive heat you need

downstairs has escaped up to where it won't do you any good. Major heat

leaks are found not only in uninsulated attics, but also in insulated

ones where gaps and holes have been left untreated.

Such attic "bypasses" are conduits for heat to leave the house during

winter and enter the house in the summer.  It is common to find large

openings where pipes, ducts, or exhaust fans are cut through the attic

floor.  But they can be stuffed with foil-backed insulation or scrap

plastic such as dry cleaner bags taped in place. Stopping attic bypasses

can save from $25 to $80 a year in heating costs.

All the obvious holes and gaps can be plugged with the exception of

the gaps around recessed light fixtures and the vents in the attic. DO

NOT COVER LIGHT FIXTURES DIRECTLY WITH INSULATION AS THIS MAY CAUSE A

FIRE.  Also, the vents must be able to breathe so that they can prevent

moisture accumulation in the attic.

Another major attic bypass is the gap where the furnace stack or

chimney meets the wood framing of the house.  This gap is very

important, because it often creates a kind of mini-chimney effect,

carrying air all the way from the basement to the attic and making a

river of heat loss.  Fireproof insulation can be stuffed between the

wood frame and the wall of the chimney.  DO NOT USE CELLULOSE HERE, AS

IT MAY BURN.

Another good candidate for a little insulation is the attic door.

Many people forget it after they have carefully applied insulation to

the rest of the attic. The door should be covered with a batt of foil-

backed insulation, perhaps from the same roll you have been using. The

edges of the door should be weatherstripped so that air cannot escape

around the sides.  This measure alone can save $20 if you have electric

heat, $8 for gas heat, and $12 for oil heat. It will also save on air-

conditioning costs.

Even if you have not yet insulated your attic, you should cut off the

attic bypass now. By doing so, you will increase the cost-effectiveness

of the insulation you buy later.

--------------------------------

More Holes In Your Pocket

--------------------------------

When people think of caulking and weatherstripping, they generally

think of windows and doors.  But most energy studies find that only 20

percent of that costly infiltration comes through these places.  The

other 80 percent gets in underneath the baseboards, through wall

outlets, through holes where plumbing pipes and telephone wires enter

the house, through holes around exhaust fans, around dryer vents, and

around sink and bathtub drain pipes as they exit from the house. These

gaps and holes should all be caulked or stuffed with insulation. The

electrical outlets can be sealed with inexpensive gaskets that can be

purchased at hardware stores. TURN OFF THE ELECTRICAL CURRENT SWITCH for

the outlets in question, remove the plastic cover plates with a

screwdriver, insert the gaskets, reattach the plates, and turn the

current back on.

--------------------------------

Don't Duck The Ductwork

--------------------------------

Where your heating and/or air-conditioning ducts pass through the

living areas of the house, there is no need to insulate them.  Where

they pass through unfinished attics or basements, they are an important

cause of money loss. People who carefully insulate the house itself and

then forget to seal and insulate ducts may be throwing away 20 to 40

percent of their furnace or air-conditioner output. Covering ducts can

save up to $100 a year in heating costs and $35 in central air-

conditioning costs.

The most inexpensive approach is to use 2-inch foil-backed insulation

and to do the ducts yourself, remembering to keep the foil facing

outward.  It is most important to SEAL THE CRACKS BETWEEN EACH SECTION

OF DUCTING WITH FLEXIBLE CAULK BEFORE YOU ADD THE INSULATION. Hidden air

leaks coming from these cracks can limit the effectiveness of the

insulation.

Encircle the ducts with insulation, much as you did with the water

heater blanket.  Use a trial piece of insulation to measure how much is

needed to go around the duct.  If the insulation is cut a couple of

inches longer than necessary, you can then peel the fiber glass off the

foil for that couple of inches and use the foil as a tab to hold the

insulation in place.  Use duct tape to seal all the cracks between each

section of insulation, and also seal the seam where each piece of

insulation joins itself.

--------------------------------

Profitable Turn-Offs

--------------------------------

Lightbulbs are the symbols of conservation, but there are other things

you can also turn off to save money.  One example is the anti-sweat

heater in refrigerators.  These heaters keep moisture from appearing on

the sides of the appliance.  On large refrigerators, they add nearly $10

to the annual electric bill.  They can be regulated with a switch inside

the refrigerator compartment. The switch may have settings that say

"dry/humid" or it may be called "power miser switch" or "energy-saver

switch."  If your switch says "dry/humid," make sure it is set on "dry."

If it says "power-miser" or "energy-saver," turn the switch ON to turn

the heaters OFF.

The heaters are unnecessary, except in humid climates where a house is

not air-conditioned. If moisture ever does appear on the refrigerator,

you can turn on the heaters for short intervals and turn them off again

when the humid weather is over.

Other good turn-offs are as follows:

(1) pilot lights on gas furnaces during the non-winter months;

savings $10 a year.

(2) If you have a second refrigerator and use it only to store

marginal items, unplug it for a savings of $20 to $40 a year.

(3) Central air-conditioners can be turned off when the house will be

unoccupied for four hours or more.

(4) Room air-conditioners can be turned off during an absence of one

hour or more.

(5) Water heaters can be turned off when you leave the house for a

weekend or longer.

(6) Furnace or heating system thermostats can be set back when you are

gone for more than four hours.

----------------------------------

Keeping Your Heat and Your Cool

----------------------------------

Many furnace technicians put the adjustment of the bonnet or plenum

thermostat on oil and gas-fired heaters at the top of their list of

cost-effective energy-saving measures.  This thermostat turns off the

fan that forces warm air through the duct system into the house.  On

most heaters, the thermostat is set at 120 degrees or higher, resulting

in a loss of furnace efficiency.  It can be reset to just five degrees

above room temperature for a savings of $9 a year.

If you are unsure about the location of your bonnet thermostat, or how

to adjust it, ask your furnace service person during the annual

maintenance check.

* CAUTION:  Some older people may require higher temperatures - above

65 degrees F at all times - to avoid accidental hypothermia, a possibly

fatal drop in body temperature. People with circulatory problems or

those taking certain types of drugs (e.g., phenothiazines, commonly used

to treat anxiety and nausea) may also be vulnerable.  In such instances,

follow a physician's counsel on both winter and summer thermostat

settings in your home.

Proper furnace maintenance, by the way, is another great way to save

money. Oil furnaces, especially, can waste a lot of costly fuel if they

are not kept clean and in tune.  Because of excess soot and/or

maladjusted burners, furnace efficiency can drop from 75 percent to

below 60 percent, increasing fuel bills by more than one quarter.  A

furnace technician can do a series of simple stack and burner tests to

tell you just what your furnace's efficiency is and advise you on how to

improve that efficiency.

One part of the maintenance work you can do yourself.  Clean filters

are important both to furnaces and to air-conditioners.  Clean or change

them regularly.

The best furnace energy-saving adjustment is still at the thermostat.

Every degree that the house is artificially held above or below outdoor

temperatures adds to the fuel bill.  A 10-degree night setback is a

great way to achieve a 10 to 25 percent savings on heating bills while

you sleep.  (If you have a heat pump, the savings will be from 5 to 15

percent.) The no-cost way to get the setback savings is to manually turn

down the thermostat at night and then turn it up again in the morning.

There are also various thermostats on the market that do the job

automatically.

--------------------------------

Savings on a Drawstring

--------------------------------

Every house is a solar collector.  The trouble is, it may be

collecting the sun's heat when you don't want it and releasing that heat

when you do. If you use air conditioning, you can save from $25 to $30

each cooling season by keeping windows closed and shades or curtains

tightly drawn, especially on the sunny sides of the house.

In the winter, you can cut fuel bills by opening the shades in the

morning on the eastern and southern sides of the house and by closing

them late in the day. If it is sunny in the afternoon, you can get

additional solar heat by opening the shades on the west side of the

house.

The shades on the north windows should be kept shut at all times

during the winter.

These 11 measures are certain to help your bank account and enable you

to keep up with rising prices.  They may also benefit you and your

neighbors in a more general way.  If all homeowners carry out these 11

suggestions, the nation would save an equivalent of one fourth of the

oil now imported into this country, or two million barrels per day.

Reducing oil imports can ease the balance of payments deficit and the

inflationary spiral it creates.

Twenty-five percent is a lot of money.

And a low-cost, no-cost effort in each house or apartment would go a

long way towards solving the nation's critical energy problem.

--------------------------------

The Low-Cost Shopping List

--------------------------------

On one trip to a hardware or general merchandise store, you can pick

up all the items you need to follow the suggestions in this database.

They include:

(1) A roll of fireproof insulation

(2) A roll of duct tape

(3) Flow controllers (if you don't have them already)

(4) Enough flexible caulking to fill cracks and seal duct joints

TOTAL COST OF THESE PURCHASES: UNDER $50.00

--------------------------------

Savings on a House Call

--------------------------------

In one visit from the furnace service people, you can ask them to do a

furnace efficiency check, clean and tune the furnace, and also rest the

bonnet thermostat.

COST OF THIS VISIT:  $35.00 - $50.00